## 00_JB_Summary
KALASIN ENGINEERING xCIP-1545 — JUNCTION BOX & I/O MAPPING SUMMARY
Summary of I/O Channel Allocations and Destination Junction Boxes Extracted from CAD Drawings
Junction Box / Destination Area | Connected Slots | Active DI | Active DO | Active AI | Active AO | Comm / Diagnostic | Total Active Channels | Spare Channels | Total Channel Capacity
CA1 | C1S1, C1S2, C1S3, C1S4, C1S8, C2S11, C2S12 | 0 | 0 | 0 | 0 | 12 | 12 | 98 | 124
CA1 (Main Control Room) | C1S0 | 0 | 0 | 0 | 0 | 5 | 5 | 0 | 5
CA1 / Field RIO (EtherNet/IP DLR Trunk) | C2S0, C3S0, C4S0, C5S0 | 0 | 0 | 0 | 0 | 16 | 16 | 0 | 16
IS-JB-603 | C4S1, C4S5 | 15 | 0 | 14 | 0 | 0 | 29 | 3 | 40
IS-JB-608 | C4S1, C4S5 | 7 | 0 | 12 | 0 | 0 | 19 | 13 | 32
IS-JB-612 | C4S2, C4S6 | 15 | 0 | 4 | 0 | 0 | 19 | 17 | 44
IS-JB-618 | C4S6 | 0 | 0 | 18 | 0 | 0 | 18 | 10 | 28
JB-401 | C1S10, C1S4, C1S5, C1S6, C1S8, C1S9 | 50 | 24 | 22 | 0 | 0 | 96 | 34 | 144
JB-402 | C2S1, C2S6, C2S9, C3S12 | 24 | 10 | 14 | 0 | 0 | 48 | 35 | 105
JB-601 | C1S11, C1S6, C1S7, C1S9 | 33 | 12 | 16 | 0 | 0 | 61 | 35 | 104
JB-602 | C2S10, C2S2, C2S3, C2S6, C3S12, C3S6 | 23 | 5 | 58 | 0 | 0 | 86 | 27 | 129
JB-606 | C3S1, C3S4, C3S6 | 4 | 1 | 4 | 0 | 0 | 9 | 45 | 60
JB-607 | C2S3, C2S4, C2S5, C2S7, C2S8, C3S12, C3S7, C3S8 | 81 | 42 | 54 | 0 | 0 | 177 | 51 | 248
JB-608 | C3S8 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 2
JB-612 | C3S2, C3S4, C3S9 | 17 | 15 | 8 | 0 | 0 | 40 | 32 | 80
JB-618 | C3S3, C3S5, C3S9 | 12 | 9 | 8 | 0 | 0 | 29 | 45 | 80
RIO-200 | C5S1, C5S2, C5S3, C5S4 | 40 | 8 | 18 | 0 | 0 | 66 | 64 | 144

## IO_Allocation_By_Drawing
I/O ALLOCATION SUMMARY BY DRAWING & SLOT
Detailed mapping showing which Junction Box and I/O channels are supported by each drawing frame
Chassis | Slot Tag | Drawing DXF File | Hardware Module | Signal Family | Destination Junction Box | Terminal Pin Range | I/O Channel Range | Active Points | Spare Points | Total Points | Connected Instruments / Devices
C2 | C2S0 | C2S0-EN4TR.dxf | 1756-EN4TR | COMM | CA1 / Field RIO (EtherNet/IP DLR Trunk) | RJ45-1 .. DISP-1 | EtherNet/IP Port 1 (DLR Ring Node 1 / Primary Adapter Link) .. 4-Character Diagnostic Display & Status LEDs (OK, NET A/B, LINK 1/2) | 4 | 0 | 4 | DIAG-LED, ETH-01, ETH-02, USB-CFG
C2 | C2S1 | C2S1-IB32.dxf | 1756-IB32 | DI | JB-402 | Term 1 .. Term 36 | IN-0 .. GND1 | 24 | 8 | 36 | FS-40204, FS-40205, FT-40221, FT-40222, HV-40207, HV-40208, XV-40203F, XV-40204B, XV-40204C, XV-40205A, XV-40205B, XV-40205C, XV-40205D, XV-40205F, XV-40222
C2 | C2S2 | C2S2-IB32.dxf | 1756-IB32 | DI | JB-602 | Term 1 .. Term 36 | IN-0 .. GND1 | 23 | 9 | 36 | FT-60202, LSH-60251, PSL-60220, TSH-60230, TSH-60240, TSH-60241A, TSH-60242A, TSH-60243A, TSL-60241B, TSL-60242B, TSL-60243B, XA-60240A, XA-60240B, XA-60241A, XA-60241B, XA-60242A, XA-60242B, XA-60243A, XA-60243B, XV-60214, XV-60241
C2 | C2S3 | C2S3-IB32.dxf | 1756-IB32 | DI | JB-607 | Term 1 .. Term 34 | IN-0 .. IN-31 | 29 | 0 | 29 | SV-60207, XA-FH-60210A, XA-FH-60210B, XA-FH-60210C, XA-FH-60210D, XA-FH-60210E, XV-60201, XV-60261, XV-60261FA, XV-60261FB, XV-60264, XV-60264FN, XV-60264FP, XV-60264FQ, XV-60264FR, XV-60264SN, XV-60264SP
C2 | C2S3 | C2S3-IB32.dxf | 1756-IB32 | DI | JB-602 | Term 6 .. Term 36 | IN-5 .. GND1 | 0 | 3 | 7 | -
C2 | C2S4 | C2S4-IB32.dxf | 1756-IB32 | DI | JB-607 | Term 1 .. Term 36 | IN-0 .. GND1 | 32 | 0 | 36 | XV-60261FC, XV-60261FD, XV-60261SA, XV-60261SB, XV-60261SC, XV-60261SD, XV-60262, XV-60262FE, XV-60262FF, XV-60262FG, XV-60262FH, XV-60262SE, XV-60262SF, XV-60262SG, XV-60264SQ, XV-60264SR
C2 | C2S5 | C2S5-IB32.dxf | 1756-IB32 | DI | JB-607 | Term 1 .. Term 36 | IN-0 .. GND1 | 20 | 12 | 36 | XV-60262SH, XV-60263, XV-60263FJ, XV-60263FK, XV-60263FL, XV-60263FM, XV-60263SJ, XV-60263SK, XV-60263SL, XV-60263SM
C2 | C2S6 | C2S6-OB32.dxf | 1756-OB32 | DO | JB-402 | Term 1 .. Term 36 | OUT-0 .. DC-1(+) | 9 | 9 | 20 | XV-40203F, XV-40204B, XV-40204C, XV-40205A, XV-40205B, XV-40205C, XV-40205D, XV-40205F, XV-40222
C2 | C2S6 | C2S6-OB32.dxf | 1756-OB32 | DO | JB-602 | Term 19 .. Term 34 | OUT-16 .. OUT-31 | 3 | 13 | 16 | XS-60240B, XV-60214, XV-60241
C2 | C2S7 | C2S7-OB32.dxf | 1756-OB32 | DO | JB-607 | Term 1 .. Term 36 | OUT-0 .. DC-1(+) | 31 | 3 | 36 | SV-60207, XS-FH-60210C, XS-FH-60210D, XV-60201, XV-60261, XV-60261FA, XV-60261FB, XV-60261FC, XV-60261FD, XV-60261SA, XV-60261SB, XV-60261SC, XV-60261SD, XV-60262, XV-60262FE, XV-60262FF, XV-60262FG, XV-60262FH, XV-60262SE, XV-60262SF, XV-60262SG, XV-60262SH, XV-60263, XV-60263FJ, XV-60263FK, XV-60263FL, XV-60263FM, XV-60263SJ, XV-60263SK, XV-60263SL, XV-60263SM
C2 | C2S8 | C2S8-OB32.dxf | 1756-OB32 | DO | JB-607 | Term 1 .. Term 36 | OUT-0 .. DC-1(+) | 9 | 25 | 36 | XV-60264, XV-60264FN, XV-60264FP, XV-60264FQ, XV-60264FR, XV-60264SN, XV-60264SP, XV-60264SQ, XV-60264SR
C2 | C2S9 | C2S9-IF16.dxf | 1756-IF16 | AI | JB-402 | Term 1 .. Term 36 | i RTN-0 .. IN-15 | 14 | 18 | 36 | FT-40221, FT-40222, PT-40222, TT-40221, TT-40222
C2 | C2S10 | C2S10-IF16.dxf | 1756-IF16 | AI | JB-602 | Term 1 .. Term 36 | i RTN-0 .. IN-15 | 32 | 0 | 36 | AT-60241, DPT-60203, FT-60202, PT-60210, PT-60215, PT-60216, PT-60240, PT-60241, TT-60210, TT-60210A, TT-60210B, TT-60211, TT-60212A, TT-60212B, TT-60214, TT-60215A
C2 | C2S11 | C2S11-IF16.dxf | 1756-IF16 | AI | CA1 | Term 1 .. Term 36 | i RTN-0 .. IN-15 | 0 | 32 | 36 | -
C2 | C2S12 | C2S12-IF16.dxf | 1756-IF16 | AI | CA1 | Term 1 .. Term 36 | i RTN-0 .. IN-15 | 0 | 32 | 36 | -

## IO_Grouped_By_JunctionBox
I/O ALLOCATION SUMMARY GROUPED BY JUNCTION BOX
Grouped overview listing all slot drawings and I/O channels feeding into each Junction Box
Destination Junction Box | Chassis | Slot Tag | Drawing DXF File | Hardware Module | Signal Family | Terminal Pin Range | I/O Channel Range | Active Points | Connected Instruments / Devices
CA1 | C2 | C2S11 | C2S11-IF16.dxf | 1756-IF16 | AI | Term 1 .. Term 36 | i RTN-0 .. IN-15 | 0 | -
CA1 | C2 | C2S12 | C2S12-IF16.dxf | 1756-IF16 | AI | Term 1 .. Term 36 | i RTN-0 .. IN-15 | 0 | -
CA1 / Field RIO (EtherNet/IP DLR Trunk) | C2 | C2S0 | C2S0-EN4TR.dxf | 1756-EN4TR | COMM | RJ45-1 .. DISP-1 | EtherNet/IP Port 1 (DLR Ring Node 1 / Primary Adapter Link) .. 4-Character Diagnostic Display & Status LEDs (OK, NET A/B, LINK 1/2) | 4 | DIAG-LED, ETH-01, ETH-02, USB-CFG
JB-402 | C2 | C2S1 | C2S1-IB32.dxf | 1756-IB32 | DI | Term 1 .. Term 36 | IN-0 .. GND1 | 24 | FS-40204, FS-40205, FT-40221, FT-40222, HV-40207, HV-40208, XV-40203F, XV-40204B, XV-40204C, XV-40205A, XV-40205B, XV-40205C, XV-40205D, XV-40205F, XV-40222
JB-402 | C2 | C2S6 | C2S6-OB32.dxf | 1756-OB32 | DO | Term 1 .. Term 36 | OUT-0 .. DC-1(+) | 9 | XV-40203F, XV-40204B, XV-40204C, XV-40205A, XV-40205B, XV-40205C, XV-40205D, XV-40205F, XV-40222
JB-402 | C2 | C2S9 | C2S9-IF16.dxf | 1756-IF16 | AI | Term 1 .. Term 36 | i RTN-0 .. IN-15 | 14 | FT-40221, FT-40222, PT-40222, TT-40221, TT-40222
JB-602 | C2 | C2S10 | C2S10-IF16.dxf | 1756-IF16 | AI | Term 1 .. Term 36 | i RTN-0 .. IN-15 | 32 | AT-60241, DPT-60203, FT-60202, PT-60210, PT-60215, PT-60216, PT-60240, PT-60241, TT-60210, TT-60210A, TT-60210B, TT-60211, TT-60212A, TT-60212B, TT-60214, TT-60215A
JB-602 | C2 | C2S2 | C2S2-IB32.dxf | 1756-IB32 | DI | Term 1 .. Term 36 | IN-0 .. GND1 | 23 | FT-60202, LSH-60251, PSL-60220, TSH-60230, TSH-60240, TSH-60241A, TSH-60242A, TSH-60243A, TSL-60241B, TSL-60242B, TSL-60243B, XA-60240A, XA-60240B, XA-60241A, XA-60241B, XA-60242A, XA-60242B, XA-60243A, XA-60243B, XV-60214, XV-60241
JB-602 | C2 | C2S3 | C2S3-IB32.dxf | 1756-IB32 | DI | Term 6 .. Term 36 | IN-5 .. GND1 | 0 | -
JB-602 | C2 | C2S6 | C2S6-OB32.dxf | 1756-OB32 | DO | Term 19 .. Term 34 | OUT-16 .. OUT-31 | 3 | XS-60240B, XV-60214, XV-60241
JB-607 | C2 | C2S3 | C2S3-IB32.dxf | 1756-IB32 | DI | Term 1 .. Term 34 | IN-0 .. IN-31 | 29 | SV-60207, XA-FH-60210A, XA-FH-60210B, XA-FH-60210C, XA-FH-60210D, XA-FH-60210E, XV-60201, XV-60261, XV-60261FA, XV-60261FB, XV-60264, XV-60264FN, XV-60264FP, XV-60264FQ, XV-60264FR, XV-60264SN, XV-60264SP
JB-607 | C2 | C2S4 | C2S4-IB32.dxf | 1756-IB32 | DI | Term 1 .. Term 36 | IN-0 .. GND1 | 32 | XV-60261FC, XV-60261FD, XV-60261SA, XV-60261SB, XV-60261SC, XV-60261SD, XV-60262, XV-60262FE, XV-60262FF, XV-60262FG, XV-60262FH, XV-60262SE, XV-60262SF, XV-60262SG, XV-60264SQ, XV-60264SR
JB-607 | C2 | C2S5 | C2S5-IB32.dxf | 1756-IB32 | DI | Term 1 .. Term 36 | IN-0 .. GND1 | 20 | XV-60262SH, XV-60263, XV-60263FJ, XV-60263FK, XV-60263FL, XV-60263FM, XV-60263SJ, XV-60263SK, XV-60263SL, XV-60263SM
JB-607 | C2 | C2S7 | C2S7-OB32.dxf | 1756-OB32 | DO | Term 1 .. Term 36 | OUT-0 .. DC-1(+) | 31 | SV-60207, XS-FH-60210C, XS-FH-60210D, XV-60201, XV-60261, XV-60261FA, XV-60261FB, XV-60261FC, XV-60261FD, XV-60261SA, XV-60261SB, XV-60261SC, XV-60261SD, XV-60262, XV-60262FE, XV-60262FF, XV-60262FG, XV-60262FH, XV-60262SE, XV-60262SF, XV-60262SG, XV-60262SH, XV-60263, XV-60263FJ, XV-60263FK, XV-60263FL, XV-60263FM, XV-60263SJ, XV-60263SK, XV-60263SL, XV-60263SM
JB-607 | C2 | C2S8 | C2S8-OB32.dxf | 1756-OB32 | DO | Term 1 .. Term 36 | OUT-0 .. DC-1(+) | 9 | XV-60264, XV-60264FN, XV-60264FP, XV-60264FQ, XV-60264FR, XV-60264SN, XV-60264SP, XV-60264SQ, XV-60264SR

## Junction_Box_List_By_Slot
KALASIN ENGINEERING xCIP-1545 — JUNCTION BOX LIST BY SLOT
Detailed breakdown per Chassis & Slot drawing showing Junction Boxes, Terminal Pin Ranges (From..To), and I/O Point Ranges (From..To)
Chassis | Slot Tag | Drawing DXF File | Hardware Module | Destination Junction Box | Terminal Pin From | Terminal Pin To | I/O Point From | I/O Point To | Signal Family | Active Points | Spare Points | Connected Devices / Channel Notes
C2 | C2S0 | C2S0-EN4TR.dxf | 1756-EN4TR | CA1 / Field RIO (EtherNet/IP DLR Trunk) | RJ45-1 | DISP-1 | EtherNet/IP Port 1 (DLR Ring Node 1 / Primary Adapter Link) | 4-Character Diagnostic Display & Status LEDs (OK, NET A/B, LINK 1/2) | COMM | 4 | 0 | DIAG-LED, ETH-01, ETH-02, USB-CFG
C2 | C2S1 | C2S1-IB32.dxf | 1756-IB32 | JB-402 | Term 1 | Term 36 | IN-0 | GND1 | DI | 24 | 8 | FS-40204, FS-40205, FT-40221, FT-40222, HV-40207, HV-40208, XV-40203F, XV-40204B, XV-40204C, XV-40205A, XV-40205B, XV-40205C, XV-40205D, XV-40205F, XV-40222
C2 | C2S2 | C2S2-IB32.dxf | 1756-IB32 | JB-602 | Term 1 | Term 36 | IN-0 | GND1 | DI | 23 | 9 | FT-60202, LSH-60251, PSL-60220, TSH-60230, TSH-60240, TSH-60241A, TSH-60242A, TSH-60243A, TSL-60241B, TSL-60242B, TSL-60243B, XA-60240A, XA-60240B, XA-60241A, XA-60241B, XA-60242A, XA-60242B, XA-60243A, XA-60243B, XV-60214, XV-60241
C2 | C2S3 | C2S3-IB32.dxf | 1756-IB32 | JB-607 | Term 1 | Term 34 | IN-0 | IN-31 | DI | 29 | 0 | SV-60207, XA-FH-60210A, XA-FH-60210B, XA-FH-60210C, XA-FH-60210D, XA-FH-60210E, XV-60201, XV-60261, XV-60261FA, XV-60261FB, XV-60264, XV-60264FN, XV-60264FP, XV-60264FQ, XV-60264FR, XV-60264SN, XV-60264SP
C2 | C2S3 | C2S3-IB32.dxf | 1756-IB32 | JB-602 | Term 6 | Term 36 | IN-5 | GND1 | DI | 0 | 3 | Spare Reserve Channels
C2 | C2S4 | C2S4-IB32.dxf | 1756-IB32 | JB-607 | Term 1 | Term 36 | IN-0 | GND1 | DI | 32 | 0 | XV-60261FC, XV-60261FD, XV-60261SA, XV-60261SB, XV-60261SC, XV-60261SD, XV-60262, XV-60262FE, XV-60262FF, XV-60262FG, XV-60262FH, XV-60262SE, XV-60262SF, XV-60262SG, XV-60264SQ, XV-60264SR
C2 | C2S5 | C2S5-IB32.dxf | 1756-IB32 | JB-607 | Term 1 | Term 36 | IN-0 | GND1 | DI | 20 | 12 | XV-60262SH, XV-60263, XV-60263FJ, XV-60263FK, XV-60263FL, XV-60263FM, XV-60263SJ, XV-60263SK, XV-60263SL, XV-60263SM
C2 | C2S6 | C2S6-OB32.dxf | 1756-OB32 | JB-402 | Term 1 | Term 36 | OUT-0 | DC-1(+) | DO | 9 | 9 | XV-40203F, XV-40204B, XV-40204C, XV-40205A, XV-40205B, XV-40205C, XV-40205D, XV-40205F, XV-40222
C2 | C2S6 | C2S6-OB32.dxf | 1756-OB32 | JB-602 | Term 19 | Term 34 | OUT-16 | OUT-31 | DO | 3 | 13 | XS-60240B, XV-60214, XV-60241
C2 | C2S7 | C2S7-OB32.dxf | 1756-OB32 | JB-607 | Term 1 | Term 36 | OUT-0 | DC-1(+) | DO | 31 | 3 | SV-60207, XS-FH-60210C, XS-FH-60210D, XV-60201, XV-60261, XV-60261FA, XV-60261FB, XV-60261FC, XV-60261FD, XV-60261SA, XV-60261SB, XV-60261SC, XV-60261SD, XV-60262, XV-60262FE, XV-60262FF, XV-60262FG, XV-60262FH, XV-60262SE, XV-60262SF, XV-60262SG, XV-60262SH, XV-60263, XV-60263FJ, XV-60263FK, XV-60263FL, XV-60263FM, XV-60263SJ, XV-60263SK, XV-60263SL, XV-60263SM
C2 | C2S8 | C2S8-OB32.dxf | 1756-OB32 | JB-607 | Term 1 | Term 36 | OUT-0 | DC-1(+) | DO | 9 | 25 | XV-60264, XV-60264FN, XV-60264FP, XV-60264FQ, XV-60264FR, XV-60264SN, XV-60264SP, XV-60264SQ, XV-60264SR
C2 | C2S9 | C2S9-IF16.dxf | 1756-IF16 | JB-402 | Term 1 | Term 36 | i RTN-0 | IN-15 | AI | 14 | 18 | FT-40221, FT-40222, PT-40222, TT-40221, TT-40222
C2 | C2S10 | C2S10-IF16.dxf | 1756-IF16 | JB-602 | Term 1 | Term 36 | i RTN-0 | IN-15 | AI | 32 | 0 | AT-60241, DPT-60203, FT-60202, PT-60210, PT-60215, PT-60216, PT-60240, PT-60241, TT-60210, TT-60210A, TT-60210B, TT-60211, TT-60212A, TT-60212B, TT-60214, TT-60215A
C2 | C2S11 | C2S11-IF16.dxf | 1756-IF16 | CA1 | Term 1 | Term 36 | i RTN-0 | IN-15 | AI | 0 | 32 | Spare Reserve Channels
C2 | C2S12 | C2S12-IF16.dxf | 1756-IF16 | CA1 | Term 1 | Term 36 | i RTN-0 | IN-15 | AI | 0 | 32 | Spare Reserve Channels