## IS-JB-612_IO_List
KALASIN ENGINEERING — DESTINATION: IS-JB-612 (PACKING TOWER 2ND FLOOR INTRINSICALLY SAFE JB)
Location: Packing Tower 2F (Dust Hazard Area) ¦ Enclosure: 300 x 200 x 150 mm (Intrinsically Safe (Ex i Blue Terminals)) ¦ Total I/O: 41 (AI: 10 ¦ DI: 31) ¦ Active: 17, Spare: 24 (58.5%) | [16 empty] | ⬅ Return to Destination Index
DESTINATION SPECIFICATION (FIELD JB / MCC / TERMINAL PIN / FIELD DEVICE) | [6 empty] | SIGNAL SPECIFICATION |  |  | SOURCE SPECIFICATION (PLC RACK / CHASSIS / SLOT / CARD PIN / ePLAN WIRE TAG)
Dest Enclosure | Location / Area | Floor / Zone | Field Terminal Block | Term Pin | Instrument Tag | Instrument Description | I/O Type | Signal Spec | Point Status | Point Ref ID | Chassis | Slot | Pt | Ch | Module Model | PLC Tag Name | PLC Card Pin | ePlan Wire Tag
IS-JB-612 | Packing Tower 2th Floor | 2nd / Packing Tower | C4S03-X1 | - | ISV-61303 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P00 | C4 | 3 | 0 | 1 | 1756-IB32 | ISV-61303_DI_1 | Pin 1 | C4S3:1/C4S03-X1:1
IS-JB-612 | Packing Tower 2th Floor | 2nd / Packing Tower | C4S03-X1 | - | ISV-61304 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P01 | C4 | 3 | 1 | 2 | 1756-IB32 | ISV-61304_DI_1 | Pin 2 | C4S3:2/C4S03-X1:2
IS-JB-612 | Packing Tower 2th Floor | 1st / Packing Tower | C4S03-X1 | - | LSH-61304 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P02 | C4 | 3 | 2 | 3 | 1756-IB32 | LSH-61304_DI_1 | Pin 3 | C4S3:3/C4S03-X1:3
IS-JB-612 | Packing Tower 2th Floor | 1st / Packing Tower | C4S03-X1 | - | LSH-61305 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P03 | C4 | 3 | 3 | 4 | 1756-IB32 | LSH-61305_DI_1 | Pin 4 | C4S3:4/C4S03-X1:4
IS-JB-612 | Packing Tower 2th Floor | 1st / Packing Tower | C4S03-X1 | - | LSH-61307 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P04 | C4 | 3 | 4 | 5 | 1756-IB32 | LSH-61307_DI_1 | Pin 5 | C4S3:5/C4S03-X1:5
IS-JB-612 | Packing Tower 2th Floor | 2nd / Packing Tower | C4S03-X1 | - | LSH-61312 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P05 | C4 | 3 | 5 | 6 | 1756-IB32 | LSH-61312_DI_1 | Pin 6 | C4S3:6/C4S03-X1:6
IS-JB-612 | Packing Tower 2th Floor | 2nd / Packing Tower | C4S03-X1 | - | PSE-61302 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P06 | C4 | 3 | 6 | 7 | 1756-IB32 | PSE-61302_DI_1 | Pin 7 | C4S3:7/C4S03-X1:7
IS-JB-612 | Packing Tower 2th Floor | 2nd / Packing Tower | C4S03-X1 | - | PSE-61303 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P07 | C4 | 3 | 7 | 8 | 1756-IB32 | PSE-61303_DI_1 | Pin 8 | C4S3:8/C4S03-X1:8
IS-JB-612 | Packing Tower 2th Floor | 2nd / Packing Tower | C4S03-X1 | - | RV-61301 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P09 | C4 | 3 | 9 | 10 | 1756-IB32 | RV-61301_DI_1 | Pin 10 | C4S3:10/C4S03-X1:10
IS-JB-612 | Packing Tower 2th Floor | 2nd / Packing Tower | C4S03-X1 | - | RV-61304 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P10 | C4 | 3 | 10 | 11 | 1756-IB32 | RV-61304_DI_1 | Pin 11 | C4S3:11/C4S03-X1:11
IS-JB-612 | Packing Tower 2th Floor | 2nd / Packing Tower | C4S03-X1 | - | RV-61305 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P11 | C4 | 3 | 11 | 12 | 1756-IB32 | RV-61305_DI_1 | Pin 12 | C4S3:12/C4S03-X1:12
IS-JB-612 | Packing Tower 2th Floor | 2nd / Packing Tower | C4S03-X1 | - | SC-61301 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P12 | C4 | 3 | 12 | 13 | 1756-IB32 | SC-61301_DI_1 | Pin 13 | C4S3:13/C4S03-X1:13
IS-JB-612 | Packing Tower 2th Floor | 2nd / Packing Tower | C4S03-X1 | - | SC-61302 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P13 | C4 | 3 | 13 | 14 | 1756-IB32 | SC-61302_DI_1 | Pin 14 | C4S3:14/C4S03-X1:14
IS-JB-612 | Packing Tower 2th Floor | 3rd / Packing Tower | C4S03-X1 | - | ZS-61312 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P14 | C4 | 3 | 14 | 15 | 1756-IB32 | ZS-61312_DI_1 | Pin 15 | C4S3:15/C4S03-X1:15
IS-JB-612 | Packing Tower 2th Floor | 3rd / Packing Tower | C4S03-X1 | - | ZS-61313 |  | DI | 24VDC Dry Contact | ACTIVE | C4-S03-P15 | C4 | 3 | 15 | 16 | 1756-IB32 | ZS-61313_DI_1 | Pin 16 | C4S3:16/C4S03-X1:16
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P16 | C4 | 3 | 16 | 17 | 1756-IB32 | Spare_DI_0 | Pin 17 | C4S3:17/C4S03-X2:17
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P17 | C4 | 3 | 17 | 18 | 1756-IB32 | Spare_DI_0 | Pin 18 | C4S3:18/C4S03-X2:18
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P18 | C4 | 3 | 18 | 19 | 1756-IB32 | Spare_DI_0 | Pin 19 | C4S3:19/C4S03-X2:19
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P19 | C4 | 3 | 19 | 20 | 1756-IB32 | Spare_DI_0 | Pin 20 | C4S3:20/C4S03-X2:20
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P20 | C4 | 3 | 20 | 21 | 1756-IB32 | Spare_DI_0 | Pin 21 | C4S3:21/C4S03-X2:21
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P21 | C4 | 3 | 21 | 22 | 1756-IB32 | Spare_DI_0 | Pin 22 | C4S3:22/C4S03-X2:22
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P22 | C4 | 3 | 22 | 23 | 1756-IB32 | Spare_DI_0 | Pin 23 | C4S3:23/C4S03-X2:23
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P23 | C4 | 3 | 23 | 24 | 1756-IB32 | Spare_DI_0 | Pin 24 | C4S3:24/C4S03-X2:24
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P24 | C4 | 3 | 24 | 25 | 1756-IB32 | Spare_DI_0 | Pin 25 | C4S3:25/C4S03-X2:25
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P25 | C4 | 3 | 25 | 26 | 1756-IB32 | Spare_DI_0 | Pin 26 | C4S3:26/C4S03-X2:26
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P26 | C4 | 3 | 26 | 27 | 1756-IB32 | Spare_DI_0 | Pin 27 | C4S3:27/C4S03-X2:27
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P27 | C4 | 3 | 27 | 28 | 1756-IB32 | Spare_DI_0 | Pin 28 | C4S3:28/C4S03-X2:28
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P28 | C4 | 3 | 28 | 29 | 1756-IB32 | Spare_DI_0 | Pin 29 | C4S3:29/C4S03-X2:29
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P29 | C4 | 3 | 29 | 30 | 1756-IB32 | Spare_DI_0 | Pin 30 | C4S3:30/C4S03-X2:30
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P30 | C4 | 3 | 30 | 31 | 1756-IB32 | Spare_DI_0 | Pin 31 | C4S3:31/C4S03-X2:31
IS-JB-612 | Packing Tower 2th Floor | - | C4S03-X2 | - | Spare | Spare Channel | DI | 24VDC Dry Contact | SPARE | C4-S03-P31 | C4 | 3 | 31 | 32 | 1756-IB32 | Spare_DI_0 | Pin 32 | C4S3:32/C4S03-X2:32
IS-JB-612 | Packing Tower 2th Floor | - | C4S05-X1 | - | Spare | Spare Channel | AI | 4-20mA HART | SPARE | C4-S05-P14 | C4 | 5 | 14 | 15 | 1756-IF16 | Spare_AI_0 | Pin 15 | C4S5:15/C4S05-X1:15
IS-JB-612 | Packing Tower 2th Floor | - | C4S05-X1 | - | Spare | Spare Channel | AI | 4-20mA HART | SPARE | C4-S05-P14 | C4 | 5 | 14 | 15 | 1756-IF16 | Spare_AI_0 | Pin 15 | C4S5:15/C4S05-X1:15
IS-JB-612 | Packing Tower 2th Floor | - | C4S05-X1 | - | Spare | Spare Channel | AI | 4-20mA HART | SPARE | C4-S05-P14 | C4 | 5 | 14 | 15 | 1756-IF16 | Spare_AI_0 | Pin 15 | C4S5:15/C4S05-X1:15
IS-JB-612 | Packing Tower 2th Floor | - | C4S05-X1 | - | Spare | Spare Channel | AI | 4-20mA HART | SPARE | C4-S05-P14 | C4 | 5 | 14 | 15 | 1756-IF16 | Spare_AI_0 | Pin 15 | C4S5:15/C4S05-X1:15
IS-JB-612 | Packing Tower 2th Floor | - | C4S05-X1 | - | Spare | Spare Channel | AI | 4-20mA HART | SPARE | C4-S05-P14 | C4 | 5 | 14 | 15 | 1756-IF16 | Spare_AI_0 | Pin 15 | C4S5:15/C4S05-X1:15
IS-JB-612 | Packing Tower 2th Floor | - | C4S05-X1 | - | Spare | Spare Channel | AI | 4-20mA HART | SPARE | C4-S05-P14 | C4 | 5 | 14 | 15 | 1756-IF16 | Spare_AI_0 | Pin 15 | C4S5:15/C4S05-X1:15
IS-JB-612 | Packing Tower 2th Floor | - | C4S05-X1 | - | Spare | Spare Channel | AI | 4-20mA HART | SPARE | C4-S05-P14 | C4 | 5 | 14 | 15 | 1756-IF16 | Spare_AI_0 | Pin 15 | C4S5:15/C4S05-X1:15
IS-JB-612 | Packing Tower 2th Floor | - | C4S05-X1 | - | Spare | Spare Channel | AI | 4-20mA HART | SPARE | C4-S05-P14 | C4 | 5 | 14 | 15 | 1756-IF16 | Spare_AI_0 | Pin 15 | C4S5:15/C4S05-X1:15
IS-JB-612 | Packing Tower 2th Floor | 2nd / Packing Tower | C4S06-X1 | - | DPT-61310 | Differential Pressure Transmitte | AI | 4-20mA HART | ACTIVE | C4-S06-P06 | C4 | 6 | 6 | 7 | 1756-IF16 | DPT-61310_AI_1 | Pin 7 | C4S6:7/C4S06-X1:7
IS-JB-612 | Packing Tower 2th Floor | 2nd / Packing Tower | C4S06-X1 | - | DPT-61312 |  | AI | 4-20mA HART | ACTIVE | C4-S06-P07 | C4 | 6 | 7 | 8 | 1756-IF16 | DPT-61312_AI_1 | Pin 8 | C4S6:8/C4S06-X1:8