## Sheet1
Item | Junction Box | Zone | Floor | Tag. No. 3.3 | P&ID No. 3.3 | Tag. No. 3.5 | Tag. No. 3.6 | P&ID No. 3.5 | DO | DI | AO | AI | Bus
1 | RIO-200 | Slurry - Out Building | 1st | FS-20201 | - | FS-20201 | FS-20201 | 3-25-01-202-PD-01 | - | - | - | 1 | -
2 | RIO-200 | Slurry - Out Building | 1st | HV-2022 | 325-01-200-PD-01 | HV-20204 | HV-20204 | 3-25-01-202-PD-01 | - | 1 | - | - | -
3 | RIO-200 | Slurry - Out Building | 1st | HV-2024 | 325-01-200-PD-01 | HV-20205 | HV-20205 | 3-25-01-202-PD-01 | - | 1 | - | - | -
4 | RIO-200 | Slurry - Out Building | 1st | HV-2026 | 325-01-200-PD-01 | HV-20206 | HV-20206 | 3-25-01-202-PD-01 | - | 1 | - | - | -
5 | RIO-200 | Slurry - Out Building | 1st | HV-2030 | 325-01-200-PD-01 | HV-20207 | HV-20207 | 3-25-01-202-PD-01 | - | 1 | - | - | -
6 | RIO-200 | Slurry - Out Building | 1st | HV-2032 | 325-01-200-PD-02 | HV-20208 | HV-20208 | 3-25-01-202-PD-02 | - | 1 | - | - | -
7 | RIO-200 | Slurry - Out Building | 1st | HV-2035 | 325-01-200-PD-02 | HV-20209 | HV-20209 | 3-25-01-202-PD-02 | - | 1 | - | - | -
8 | RIO-200 | Slurry - Out Building | 1st | HV-2038 | 325-01-200-PD-02 | HV-20210 | HV-20210 | 3-25-01-202-PD-02 | - | 1 | - | - | -
9 | RIO-200 | Slurry - Out Building | 1st | XV-20201 | 325-01-200-PD-01 | XV-20201 | XV-20201 | 3-25-01-202-PD-01 | 1 | 2 | - | - | -
10 | RIO-200 | Slurry - Out Building | 1st | XV-20202 | 325-01-200-PD-01 | XV-20202 | XV-20202 | 3-25-01-202-PD-01 | 1 | 2 | - | - | -
11 | RIO-200 | Slurry - Out Building | 1st | XV-20203 | 325-01-200-PD-01 | XV-20203 | XV-20203 | 3-25-01-202-PD-01 | 1 | 2 | - | - | -
12 | RIO-200 | Slurry - Out Building | 1st | XV-20211 | 325-01-200-PD-01 | XV-20211 | XV-20211 | 3-25-01-202-PD-01 | 1 | 2 | - | - | -
13 | RIO-200 | Slurry - Out Building | 1st | XV-20212 | 325-01-200-PD-01 | XV-20212 | XV-20212 | 3-25-01-202-PD-01 | 1 | 2 | - | - | -
14 | RIO-200 | Slurry - Out Building | 1st | XV-20213 | 325-01-200-PD-01 | XV-20213 | XV-20213 | 3-25-01-202-PD-01 | 1 | 2 | - | - | -
15 | RIO-200 | Slurry - Out Building | 1st | PCM-2030 | 325-01-200-PD-01 | - | PCM-2030 | 3-25-01-202-PD-01 | 2 | 2 | - | - | -
16 | RIO-200 | Slurry - Out Building | 1st | PCM-2031 | 325-01-200-PD-01 | - | PCM-2031 | 3-25-01-202-PD-01 | 2 | 2 | - | - | -
31 | JB-401 | PH Adjustment | 1st | ATY-40101 | 325-01-400-PD-01 | - | ATY-40101 | 3-25-01-402-PD-01 | 1 | 1 | - | - | 1
32 | JB-401 | PH Adjustment | 1st | ATY-40102 | 325-01-400-PD-01 | - | ATY-40102 | 3-25-01-402-PD-01 | 1 | 1 | - | - | 1
14 | JB-401 | Infeed Tank | 1st | ATY-40201 | 325-01-400-PD-02 | ATY-40203 | ATY-40203 | 3-25-01-402-PD-02 | 1 | 1 | - | - | 1
1 | JB-401 | PH Adjustment | 1st | FS-40101 | - | FS-40201 | FS-40201 | 3-25-01-402-PD-01 | - | - | - | 1 | -
2 | JB-401 | PH Adjustment | 1st | FS-40102 | - | FS-40202 | FS-40202 | 3-25-01-402-PD-01 | - | - | - | 1 | -
2 | JB-401 | Infeed Tank | 1st | FT-40201 | 325-01-400-PD-02 | FT-40201 | FT-40201 | 3-25-01-402-PD-02 | - | 1 | - | 2 | -
3 | JB-401 | Infeed Tank | 1st | FT-40202 | 325-01-400-PD-02 | FT-40202 | FT-40202 | 3-25-01-402-PD-02 | - | 1 | - | 1 | -
3 | JB-401 | PH Adjustment | 1st | HV-4106 | 325-01-400-PD-01 | HV-40203 | HV-40203 | 3-25-01-402-PD-01 | - | 1 | - | - | -
4 | JB-401 | PH Adjustment | 1st | HV-4108 | 325-01-400-PD-01 | HV-40201 | HV-40201 | 3-25-01-402-PD-01 | - | 1 | - | - | -
5 | JB-401 | PH Adjustment | 1st | HV-4126 | 325-01-400-PD-01 | HV-40204 | HV-40204 | 3-25-01-402-PD-01 | - | 1 | - | - | -
6 | JB-401 | PH Adjustment | 1st | HV-4128 | 325-01-400-PD-01 | HV-40202 | HV-40202 | 3-25-01-402-PD-01 | - | 1 | - | - | -
4 | JB-401 | Infeed Tank | 1st | HV-4208 | 325-01-400-PD-01 | HV-40206 | HV-40206 | 3-25-01-402-PD-02 | - | 1 | - | - | -
5 | JB-401 | Infeed Tank | 1st | HV-4210 | 325-01-400-PD-01 | HV-40205 | HV-40205 | 3-25-01-402-PD-02 | - | 1 | - | - | -
7 | JB-401 | PH Adjustment | 1st | LT-40101 | 325-01-400-PD-01 | LT-40201 | LT-40201 | 3-25-01-402-PD-01 | - | 1 | - | - | -
8 | JB-401 | PH Adjustment | 1st | LT-40102 | 325-01-400-PD-01 | LT-40202 | LT-40202 | 3-25-01-402-PD-01 | - | 1 | - | - | -
6 | JB-401 | Infeed Tank | 1st | LT-40201 | 325-01-400-PD-02 | LT-40203 | LT-40203 | 3-25-01-402-PD-02 | - | - | - | 1 | -
33 | JB-401 | PH Adjustment | 1st | PCY-40101 | 325-01-400-PD-01 | - | PCY-40101 | 3-25-01-402-PD-01 | 1 | 1 | - | - | 1
34 | JB-401 | PH Adjustment | 1st | PCY-40102 | 325-01-400-PD-01 | - | PCY-40102 | 3-25-01-402-PD-01 | 1 | 1 | - | - | 1
15 | JB-401 | Infeed Tank | 1st | PCY-40201 | 325-01-400-PD-02 | PCY-40203 | PCY-40203 | 3-25-01-402-PD-02 | 1 | 1 | - | - | 1
9 | JB-401 | PH Adjustment | 1st | pHT-40101 | 325-01-400-PD-01 | pHT-40201 | pHT-40201 | 3-25-01-402-PD-01 | - | 1 | - | 1 | -
10 | JB-401 | PH Adjustment | 1st | pHT-40102 | 325-01-400-PD-01 | pHT-40202 | pHT-40202 | 3-25-01-402-PD-01 | - | 1 | - | 1 | -
1 | JB-401 | Infeed Tank | 1st | PT-40201 | 325-01-400-PD-02 | PT-40201 | PT-40201 | 3-25-01-402-PD-02 | - | - | - | 1 | -
7 | JB-401 | Infeed Tank | 1st | PT-40202 | 325-01-400-PD-02 | PT-40202 | PT-40202 | 3-25-01-402-PD-02 | - | - | - | 1 | -
8 | JB-401 | Infeed Tank | 1st | PT-60202 | 325-01-600-PD-01 | PT-60202 | PT-60202 | 3-25-01-602-PD-01 | - | - | - | 1 | -
11 | JB-401 | PH Adjustment | 1st | SV-40101 | 325-01-400-PD-01 | SV-40201 | SV-40201 | 3-25-01-402-PD-01 | 1 | - | - | - | -
12 | JB-401 | PH Adjustment | 1st | SV-40102 | 325-01-400-PD-01 | SV-40202 | SV-40202 | 3-25-01-402-PD-01 | 1 | - | - | - | -
13 | JB-401 | PH Adjustment | 1st | SV-40103 | 325-01-400-PD-01 | SV-40203 | SV-40203 | 3-25-01-402-PD-01 | 1 | - | - | - | -
14 | JB-401 | PH Adjustment | 1st | SV-40104 | 325-01-400-PD-01 | SV-40204 | SV-40204 | 3-25-01-402-PD-01 | 1 | - | - | - | -
15 | JB-401 | PH Adjustment | 1st | XV-40101A | - | XV-40201A | XV-40201A | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
16 | JB-401 | PH Adjustment | 1st | XV-40101B | 325-01-400-PD-01 | XV-40201B | XV-40201B | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
17 | JB-401 | PH Adjustment | 1st | XV-40101C | 325-01-400-PD-01 | XV-40201C | XV-40201C | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
18 | JB-401 | PH Adjustment | 1st | XV-40101D | 325-01-400-PD-01 | XV-40201D | XV-40201D | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
19 | JB-401 | PH Adjustment | 1st | XV-40101E | 325-01-400-PD-01 | XV-40201E | XV-40201E | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
20 | JB-401 | PH Adjustment | 1st | XV-40101F | 325-01-400-PD-01 | XV-40201F | XV-40201F | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
21 | JB-401 | PH Adjustment | 1st | XV-40101G | 325-01-400-PD-01 | XV-40201G | XV-40201G | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
22 | JB-401 | PH Adjustment | 1st | XV-40101H | 325-01-400-PD-01 | XV-40201H | XV-40201H | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
23 | JB-401 | PH Adjustment | 1st | XV-40102A | 325-01-400-PD-01 | XV-40202A | XV-40202A | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
24 | JB-401 | PH Adjustment | 1st | XV-40102B | 325-01-400-PD-01 | XV-40202B | XV-40202B | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
25 | JB-401 | PH Adjustment | 1st | XV-40102C | 325-01-400-PD-01 | XV-40202C | XV-40202C | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
26 | JB-401 | PH Adjustment | 1st | XV-40102D | 325-01-400-PD-01 | XV-40202D | XV-40202D | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
27 | JB-401 | PH Adjustment | 1st | XV-40102E | 325-01-400-PD-01 | XV-40202E | XV-40202E | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
28 | JB-401 | PH Adjustment | 1st | XV-40102F | 325-01-400-PD-01 | XV-40202F | XV-40202F | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
29 | JB-401 | PH Adjustment | 1st | XV-40102G | 325-01-400-PD-01 | XV-40202G | XV-40202G | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
30 | JB-401 | PH Adjustment | 1st | XV-40102H | 325-01-400-PD-01 | XV-40202H | XV-40202H | 3-25-01-402-PD-01 | 1 | 2 | - | - | -
9 | JB-401 | Infeed Tank | 1st | XV-40201B | 325-01-400-PD-02 | XV-40203B | XV-40203B | 3-25-01-402-PD-02 | 1 | 2 | - | - | -
10 | JB-401 | Infeed Tank | 1st | XV-40201C | 325-01-400-PD-02 | XV-40203C | XV-40203C | 3-25-01-402-PD-02 | 1 | 2 | - | - | -
11 | JB-401 | Infeed Tank | 1st | XV-40201D | 325-01-400-PD-02 | XV-40203D | XV-40203D | 3-25-01-402-PD-02 | 1 | 2 | - | - | -
12 | JB-401 | Infeed Tank | 1st | XV-40201E | 325-01-400-PD-02 | XV-40203E | XV-40203E | 3-25-01-402-PD-02 | 1 | 2 | - | - | -
13 | JB-401 | Infeed Tank | 1st | XV-60251 | 325-01-600-PD-01 | XV-60251 | XV-60251 | 3-25-01-602-PD-01 | 1 | 2 | - | - | -
1 | JB-402 | Jet Cooker | 2nd | - | - | FS-40204 | FS-40204 | 325-01-402-PD-01 | - | 1 | - | - | -
2 | JB-402 | Jet Cooker | 2nd | - | - | FS-40205 | FS-40205 | 325-01-402-PD-02 | - | 1 | - | - | -
3 | JB-402 | Jet Cooker | 2nd | - | - | FT-40221 | FT-40221 | 325-01-402-PD-02 | - | 1 | - | 2 | -
4 | JB-402 | Jet Cooker | 2nd | - | - | FT-40222 | FT-40222 | 325-01-402-PD-02 | - | 1 | - | 2 | -
5 | JB-402 | Jet Cooker | 2nd | - | - | HV-40207 | HV-40207 | 325-01-402-PD-01 | - | 1 | - | - | -
6 | JB-402 | Jet Cooker | 2nd | - | - | HV-40208 | HV-40208 | 325-01-402-PD-01 | - | 1 | - | - | -
7 | JB-402 | Jet Cooker | 2nd | - | - | PT-40222 | PT-40222 | 325-01-402-PD-02 |  |  |  | 1 | -
8 | JB-402 | Jet Cooker | 2nd | - | - | TT-40221 | TT-40221 | 325-01-402-PD-02 | - | - | - | 1 | -
9 | JB-402 | Jet Cooker | 2nd | - | - | TT-40222 | TT-40222 | 325-01-402-PD-02 | - | - | - | 1 | -
10 | JB-402 | Jet Cooker | 2nd | - | - | TCV-40222 | TCV-40222 | 325-01-402-PD-02 | - | - | 1 | - | -
11 | JB-402 | Jet Cooker | 2nd | - | - | XV-40203F | XV-40203F | 325-01-402-PD-02 | 1 | 2 | - | - | -
12 | JB-402 | Jet Cooker | 2nd | - | - | XV-40204B | XV-40204B | 325-01-402-PD-01 | 1 | 2 | - | - | -
13 | JB-402 | Jet Cooker | 2nd | - | - | XV-40204C | XV-40204C | 325-01-402-PD-01 | 1 | 2 | - | - | -
14 | JB-402 | Jet Cooker | 2nd | - | - | XV-40205A | XV-40205A | 325-01-402-PD-02 | 1 | 2 | - | - | -
15 | JB-402 | Jet Cooker | 2nd | - | - | XV-40205B | XV-40205B | 325-01-402-PD-02 | 1 | 2 | - | - | -
16 | JB-402 | Jet Cooker | 2nd | - | - | XV-40205C | XV-40205C | 325-01-402-PD-02 | 1 | 2 | - | - | -
17 | JB-402 | Jet Cooker | 2nd | - | - | XV-40205D | XV-40205D | 325-01-402-PD-02 | 1 | 2 | - | - | -
18 | JB-402 | Jet Cooker | 2nd | - | - | XV-40205F | XV-40205F | 325-01-402-PD-02 | 1 | 2 | - | - | -
19 | JB-402 | Jet Cooker | 2nd | - | - | XV-40222 | XV-40222 | 325-01-402-PD-02 | 1 | 2 | - | - | -
1 | JB-612 | Packing Tower | 4th | HS-61307F | 325-01-613-PD-03 | HS-61307F | HS-61307F | 3-25-01-613-PD-03 | - | 1 | - | - | -
2 | JB-612 | Packing Tower | 3rd | HS-61307G | 325-01-613-PD-03 | HS-61307G | HS-61307G | 3-25-01-613-PD-03 | - | 1 | - | - | -
3 | JB-612 | Packing Tower | 3rd | HS-61307H | 325-01-613-PD-03 | HS-61307H | HS-61307H | 3-25-01-613-PD-03 | - | 1 | - | - | -
4 | JB-612 | Packing Tower | 1st | HS-61307I | 325-01-613-PD-03 | HS-61307I | HS-61307I | 3-25-01-613-PD-03 | - | 1 | - | - | -
5 | JB-612 | Packing Tower | 1st | HS-61307J | 325-01-613-PD-03 | HS-61307J | HS-61307J | 3-25-01-613-PD-03 | - | 1 | - | - | -
6 | JB-612 | Packing Tower | 1st | HS-61307K | 325-01-613-PD-03 | HS-61307K | HS-61307K | 3-25-01-613-PD-03 | - | 1 | - | - | -
7 | JB-612 | Packing Tower | 1st | HS-61307L | 325-01-613-PD-03 | HS-61307L | HS-61307L | 3-25-01-613-PD-03 | - | 1 | - | - | -
8 | JB-612 | Packing Tower | 1st | HS-61307M | 325-01-613-PD-03 | HS-61307M | HS-61307M | 3-25-01-613-PD-03 | - | 1 | - | - | -
9 | JB-612 | Packing Tower | 1st | HS-61307N | 325-01-613-PD-03 | HS-61307N | HS-61307N | 3-25-01-613-PD-03 | - | 1 | - | - | -
10 | JB-612 | Packing Tower | 1st | HS-61307O | 325-01-613-PD-03 | HS-61307O | HS-61307O | 3-25-01-613-PD-03 | - | 1 | - | - | -
11 | JB-612 | Packing Tower | 1st | HS-61307P | 325-01-613-PD-03 | HS-61307P | HS-61307P | 3-25-01-613-PD-03 | - | 1 | - | - | -
12 | JB-612 | Packing Tower | 1st | HS-61307Q | 325-01-613-PD-03 | HS-61307Q | HS-61307Q | 3-25-01-613-PD-03 | - | 1 | - | - | -
13 | JB-612 | Packing Tower | 1st | HS-61307R | 325-01-613-PD-03 | HS-61307R | HS-61307R | 3-25-01-613-PD-03 | - | 1 | - | - | -
14 | JB-612 | Packing Tower | 1st | PSL-61305 | 325-01-613-PD-03 | PSL-61305 | PSL-61305 | 3-25-01-613-PD-03 | - | 1 | - | - | -
15 | JB-612 | Packing Tower | 1st | PSL-61306 | 325-01-613-PD-05 | PSL-61306 | PSL-61306 | 3-25-01-613-PD-05 | - | 1 | - | - | -
16 | JB-612 | Packing Tower | 2nd | PT-61302 | 325-01-613-PD-03 | PT-61302 | PT-61302 | 3-25-01-613-PD-03 | - | - | - | 1 | -
17 | JB-612 | Packing Tower | 1st | PT-61309 | 325-01-613-PD-04 | PT-61309 | PT-61309 | 3-25-01-613-PD-04 | - | - | - | 1 | -
18 | JB-612 | Packing Tower | 3rd | SV-61307 | - | SV-61307 | SV-61307 | 3-25-01-613-PD-01 | 1 | - | - | - | -
19 | JB-612 | Packing Tower | 2nd | SV-61308 | 325-01-613-PD-03 | - | SV-61308 | - | 1 | - | - | - | -
20 | JB-612 | Packing Tower | 2nd | SV-61309 | 325-01-613-PD-03 | SV-61309 | SV-61309 | 3-25-01-613-PD-03 | 1 | - | - | - | -
21 | JB-612 | Packing Tower | 2nd | SV-61310 | 325-01-613-PD-05 | - | SV-61310 | - | 1 | - | - | - | -
22 | JB-612 | Packing Tower | 1st | SV-61311 | 325-01-613-PD-05 | SV-61311 | SV-61311 | 3-25-01-613-PD-05 | 1 | - | - | - | -
23 | JB-612 | Packing Tower | 2nd | XV-61302 | 325-01-613-PD-02 | XV-61302 | XV-61302 | 3-25-01-613-PD-02 | 1 | 2 | - | - | -
24 | JB-612 | Packing Tower | 2nd | XV-61303 | 325-01-613-PD-02 | XV-61303 | XV-61303 | 3-25-01-613-PD-02 | 1 | 2 | - | - | -
25 | JB-612 | Packing Tower | 2nd | BFY-61302 | 325-01-613-PD-05 | - | BFY-61302 | - | 1 | 1 | - | - | 1
26 | JB-612 | Packing Tower | 2nd | PVM-61301 | 325-01-613-PD-03 | - | PVM-61301 | - | 2 | 2 | - | - | -
27 | JB-612 | Packing Tower | 1st | RVM-61302 | 325-01-613-PD-03 | - | RVM-61302 | - | 2 | 2 | - | - | -
28 | JB-612 | Packing Tower | 1st | RVM-61303 | 325-01-613-PD-05 | - | RVM-61303 | - | 2 | 2 | - | - | -
29 | JB-612 | Packing Tower | 4th | SCM-61301 | 325-01-613-PD-01 | - | SCM-61301 | - | 2 | 2 | - | - | -
30 | JB-612 | Packing Tower | 4th | SCM-61302 | 325-01-613-PD-01 | - | SCM-61302 | - | 2 | 2 | - | - | -
31 | JB-612 | Packing Tower | 1st | XA-61301A | 325-01-613-PD-02 | - | XA-61301A | - | - | 1 | - | - | -
32 | JB-612 | Packing Tower | 1st | XA-61301B | 325-01-613-PD-02 | - | XA-61301B | - | - | 1 | - | - | -
33 | JB-612 | Packing Tower | 1st | XA-61301C | 325-01-613-PD-02 | - | XA-61301C | - | - | 1 | - | - | -
34 | JB-612 | Packing Tower | 1st | XA-61301D | 325-01-613-PD-02 | - | XA-61301D | - | - | 1 | - | - | -
35 | JB-612 | Packing Tower | 1st | XA-61301E | 325-01-613-PD-02 | - | XA-61301E | - | - | 1 | - | - | -
36 | JB-612 | Packing Tower | 1st | XA-61301F | 325-01-613-PD-02 | - | XA-61301F | - | - | 1 | - | - | -
37 | JB-612 | Packing Tower | 1st | XA-61301G | 325-01-613-PD-02 | - | XA-61301G | - | - | 1 | - | - | -
38 | JB-612 | Packing Tower | 1st | XA-61301H | 325-01-613-PD-02 | - | XA-61301H | - | - | 1 | - | - | -
39 | JB-612 | Packing Tower | 1st | XA-61301J | 325-01-613-PD-02 | - | XA-61301J | - | - | 1 | - | - | -
40 | JB-612 | Packing Tower | 1st | XS-61301A | 325-01-613-PD-02 | - | XS-61301A | - | 1 | - | - | - | -
41 | JB-612 | Packing Tower | 1st | XS-61301B | 325-01-613-PD-02 | - | XS-61301B | - | 1 | - | - | - | -
42 | JB-612 | Packing Tower | 1st | XS-61301C | 325-01-613-PD-02 | - | XS-61301C | - | 1 | - | - | - | -
43 | JB-612 | Packing Tower | 1st | XS-61301D | 325-01-613-PD-02 | - | XS-61301D | - | 1 | - | - | - | -
44 | JB-612 | Packing Tower | 1st | XS-61301E | 325-01-613-PD-02 | - | XS-61301E | - | 1 | - | - | - | -
45 | JB-612 | Packing Tower | 1st | XS-61301F | 325-01-613-PD-02 | - | XS-61301F | - | 1 | - | - | - | -
46 | JB-612 | Packing Tower | 1st | Spare | 325-01-613-PD-02 | - | Spare | - | - | 1 | - | - | -
47 | JB-612 | Packing Tower | 1st | Spare | 325-01-613-PD-02 | - | Spare | - | 1 | - | - | - | -
48 | JB-612 | Packing Tower | 1st | Spare | 325-01-613-PD-02 | - | Spare | - | 1 | - | - | - | -
49 | JB-612 | Packing Tower | 1st | Communication Signal | 325-01-613-PD-02 | - | Communication Signal | - | - | - | - | - | 1
1 | JB-618 | Packing Tower | 8th | HS-61307A | 325-01-613-PD-03 | HS-61307A | HS-61307A | 3-25-01-613-PD-03 | - | 1 | - | - | -
2 | JB-618 | Packing Tower | 8th | HS-61307B | 325-01-613-PD-03 | HS-61307B | HS-61307B | 3-25-01-613-PD-03 | - | 1 | - | - | -
3 | JB-618 | Packing Tower | 7th | HS-61307C | 325-01-613-PD-03 | HS-61307C | HS-61307C | 3-25-01-613-PD-03 | - | 1 | - | - | -
4 | JB-618 | Packing Tower | 5th | HS-61307D | 325-01-613-PD-03 | HS-61307D | HS-61307D | 3-25-01-613-PD-03 | - | 1 | - | - | -
5 | JB-618 | Packing Tower | 5th | HS-61307E | 325-01-613-PD-03 | HS-61307E | HS-61307E | 3-25-01-613-PD-03 | - | 1 | - | - | -
6 | JB-618 | Packing Tower | 7th | LS-61303 | - | LS-61303 | LS-61303 | 3-25-01-613-PD-01 | - | 1 | - | - | -
7 | JB-618 | Packing Tower | 9th | NEW | - | LSH-61308 | LSH-61308 | 3-25-01-613-PD-01 | - | 1 | - | - | -
8 | JB-618 | Packing Tower | 5th | NEW | - | PSL-61301 | PSL-61301 | 3-25-01-613-PD-01 | - | 1 | - | - | -
9 | JB-618 | Packing Tower | 5th | PSL-61301 | 325-01-613-PD-01 | - | PSL-61301 | - | - | 1 | - | - | -
10 | JB-618 | Packing Tower | 9th | PSL-61302 | 325-01-613-PD-01 | PSL-61302 | PSL-61302 | 3-25-01-613-PD-01 | - | 1 | - | - | -
11 | JB-618 | Packing Tower | 8th | PSL-61311 | 325-01-613-PD-04 | PSL-61311 | PSL-61311 | 3-25-01-613-PD-04 | - | 1 | - | - | -
12 | JB-618 | Packing Tower | 8th | - | - | PT-61303 | PT-61303 | 3-25-01-613-PD-01 | - | - | - | 1 | -
13 | JB-618 | Packing Tower | 8th | - | - | PT-61306 | PT-61306 | 3-25-01-613-PD-01 | - | - | - | 1 | -
14 | JB-618 | Packing Tower | 8th | - | - | TT-61303 | TT-61303 | 3-25-01-613-PD-01 | - | - | - | 1 | -
15 | JB-618 | Packing Tower | 8th | - | - | TT-61304 | TT-61304 | 3-25-01-613-PD-01 | - | - | - | 1 | -
16 | JB-618 | Packing Tower | 8th | SV-61301 | 325-01-613-PD-01 | - | SV-61301 | - | 1 | - | - | - | -
17 | JB-618 | Packing Tower | 7th | SV-61302 | 325-01-613-PD-01 | SV-61302 | SV-61302 | 3-25-01-613-PD-01 | 1 | - | - | - | -
18 | JB-618 | Packing Tower | 5th | SV-61303 | 325-01-613-PD-01 | SV-61303 | SV-61303 | 3-25-01-613-PD-01 | 1 | - | - | - | -
19 | JB-618 | Packing Tower | 9th | SV-61305 | 325-01-613-PD-01 | SV-61305 | SV-61305 | 3-25-01-613-PD-01 | 1 | - | - | - | -
20 | JB-618 | Packing Tower | 5th | SV-61306 | - | SV-61306 | SV-61306 | 3-25-01-613-PD-01 | 1 | - | - | - | -
21 | JB-618 | Packing Tower | 5th | HV-61301 | - | XV61301 | XV61301 | 3-25-01-613-PD-01 | 1 | 2 | - | - | -
22 | JB-618 | Packing Tower | 5th | XV-61301 | 325-01-613-PD-01 | DV-61301 | DV-61301 | 3-25-01-613-PD-01 | 1 | 2 | - | - | -
23 | JB-618 | Packing Tower | 9th | XV-61302 | - | DV-61302 | DV-61302 | 3-25-01-613-PD-01 | 1 | 2 | - | - | -
24 | JB-618 | Packing Tower | 8th | BFY-61301 | 325-01-613-PD-01 | - | BFY-61301 | - | 1 | 1 | - | - | 1
25 | JB-618 | Packing Tower | 9th | BFY-61303 | 325-01-613-PD-01 | - | BFY-61303 | - | 1 | 1 | - | - | 1
26 | JB-618 | Packing Tower | 5th | BLM-61302 | 325-01-613-PD-01 | - | BLM-61302 | - | 2 | 2 | - | - | -
27 | JB-618 | Packing Tower | 9th | RVM-60204 | 325-01-600-PD-08 | - | RVM-60204 | - | 2 | 2 | - | - | -
28 | JB-618 | Packing Tower | 6th | RVM-61301 | 325-01-613-PD-01 | - | RVM-61301 | - | 2 | 2 | - | - | -
29 | JB-618 | Packing Tower | 9th | RVM-61304 | 325-01-613-PD-01 | - | RVM-61304 | - | 2 | 2 | - | - | -
30 | JB-618 | Packing Tower | 9th | RVM-61305 | 325-01-613-PD-01 | - | RVM-61305 | - | 2 | 2 | - | - | -
31 | JB-618 | Packing Tower | 9th | SV-61304 | 325-01-613-PD-01 | SV-61304 | SV-61304 | 3-25-01-613-PD-01 | 1 | 2 | - | - | -
1 | JB-601 | Spray Dryer | 1st | DPT-60202 | 325-01-600-PD-08 | DPT-60202 | DPT-60202 | 3-25-01-602-PD-08 | - | - | - | 1 | -
2 | JB-601 | Spray Dryer | 1st | FT-60201 | 325-01-600-PD-08 | FT-60201 | FT-60201 | 3-25-01-602-PD-08 | - | - | - | 1 | -
3 | JB-601 | Spray Dryer | 1st | FT-60307 | - | FT-61307 | FT-61307 | 3-25-01-613-PD-04 | - | - | - | 1 | -
4 | JB-601 | Spray Dryer | 1st | FT-61307 | 325-01-613-PD-04 | - | FT-61307 | - | - | - | - | 1 | -
5 | JB-601 | Spray Dryer | 1st | FT-61101 | 325-01-600-PD-10 | FT-60204 | FT-60204 | 3-25-01-602-PD-10 | - | - | - | 1 | -
6 | JB-601 | Spray Dryer | 1st | LSL-61101 | 325-01-600-PD-11 | LSL-60201 | LSL-60201 | 3-25-01-602-PD-11 | - | 1 | - | - | -
7 | JB-601 | Spray Dryer | 1st | PT-60203 | 325-01-600-PD-08 | PT-60203 | PT-60203 | 3-25-01-602-PD-08 | - | - | - | 1 | -
8 | JB-601 | Spray Dryer | 1st | PT-61101 | 325-01-600-PD-10 | PT-60204 | PT-60204 | 3-25-01-602-PD-10 | - | - | - | 1 | -
9 | JB-601 | Spray Dryer | 1st | SV-60230 | 325-01-600-PD-04 | SV-60230 | SV-60230 | 3-25-01-602-PD-04 | 1 | - | - | - | -
10 | JB-601 | Spray Dryer | 1st | SV-60231 | 325-01-600-PD-04 | SV-60231 | SV-60231 | 3-25-01-602-PD-04 | 1 | - | - | - | -
11 | JB-601 | Spray Dryer | 1st | SV-60240A | 325-01-600-PD-05 | SV-60240A | SV-60240A | 3-25-01-602-PD-05 | 1 | - | - | - | -
12 | JB-601 | Spray Dryer | 1st | SV-60240B | 325-01-600-PD-05 | SV-60240B | SV-60240B | 3-25-01-602-PD-05 | 1 | - | - | - | -
13 | JB-601 | Spray Dryer | 1st | SV-60240C | 325-01-600-PD-05 | SV-60240C | SV-60240C | 3-25-01-602-PD-05 | 1 | - | - | - | -
14 | JB-601 | Spray Dryer | 1st | XV-61101 | 325-01-600-PD-11 | XV-60202 | XV-60202 | 3-25-01-602-PD-11 | 1 | 2 | - | - | -
15 | JB-601 | Spray Dryer | 1st | BFY-60206 | 325-01-600-PD-08 | - | BFY-60206 | - | 1 | 1 | - | - | 1
16 | JB-601 | Spray Dryer | 1st | PCM-60205-2 | 325-01-600-PD-01 | - | PCM-60205-2 | - | 2 | 2 | - | - | -
17 | JB-601 | Spray Dryer | 1st | PCM-60205-3 | 325-01-600-PD-01 | - | PCM-60205-3 | - | 2 | 2 | - | - | -
18 | JB-601 | Spray Dryer | 1st | PCM-60205-4 | 325-01-600-PD-01 | - | PCM-60205-4 | - | 2 | 2 | - | - | -
19 | JB-601 | Spray Dryer | 1st | PCM-60205-5 | 325-01-600-PD-01 | - | PCM-60205-5 | - | 2 | 2 | - | - | -
20 | JB-601 | Spray Dryer | 1st | PCY-60205-1 | 325-01-600-PD-01 | - | PCY-60205-1 | - | 1 | 1 | - | - | 1
21 | JB-601 | Spray Dryer | 1st | RVM-60201 | 325-01-600-PD-08 | - | RVM-60201 | - | 2 | 2 | - | - | -
22 | JB-601 | Spray Dryer | 1st | RVM-60202 | 325-01-600-PD-08 | - | RVM-60202 | - | 2 | 2 | - | - | -
23 | JB-601 | Spray Dryer | 1st | RVM-60203 | 325-01-600-PD-08 | - | RVM-60203 | - | 2 | 2 | - | - | -
24 | JB-601 | Spray Dryer | 1st | XV-60240D | 325-01-600-PD-05 | - | XV-60240D | - | 1 | 2 | - | - | -
25 | JB-601 | Spray Dryer | 1st | SV-60201 | 325-01-600-PD-08 | SV-60201 | SV-60201 | 3-25-01-602-PD-08 | 1 | 2 | - | - | -
26 | JB-601 | Spray Dryer | 1st | SV-60202 | 325-01-600-PD-08 | SV-60202 | SV-60202 | 3-25-01-602-PD-08 | 1 | 2 | - | - | -
27 | JB-601 | Spray Dryer | 1st | SV-60203 | 325-01-600-PD-08 | SV-60203 | SV-60203 | 3-25-01-602-PD-08 | 1 | 2 | - | - | -
28 | JB-601 | Spray Dryer | 1st | XA-60202A | 325-01-600-PD-08 | - | XA-60202A | - | - | 1 | - | - | -
29 | JB-601 | Spray Dryer | 1st | XA-60202B | 325-01-600-PD-08 | - | XA-60202B | - | - | 1 | - | - | -
30 | JB-601 | Spray Dryer | 1st | XA-60202C | 325-01-600-PD-08 | - | XA-60202C | - | - | 1 | - | - | -
31 | JB-601 | Spray Dryer | 1st | XA-60202D | 325-01-600-PD-08 | - | XA-60202D | - | - | 1 | - | - | -
32 | JB-601 | Spray Dryer | 1st | XA-60202E | 325-01-600-PD-08 | - | XA-60202E | - | - | 1 | - | - | -
33 | JB-601 | Spray Dryer | 1st | XA-60202F | 325-01-600-PD-08 | - | XA-60202F | - | - | 1 | - | - | -
34 | JB-601 | Spray Dryer | 1st | XA-60202G | 325-01-600-PD-08 | - | XA-60202G | - | - | 1 | - | - | -
35 | JB-601 | Spray Dryer | 1st | XA-60202H | 325-01-600-PD-08 | - | XA-60202H | - | - | 1 | - | - | -
36 | JB-601 | Spray Dryer | 1st | XA-60202J | 325-01-600-PD-08 | - | XA-60202J | - | - | 1 | - | - | -
37 | JB-601 | Spray Dryer | 1st | XA-60202K | 325-01-600-PD-08 | - | XA-60202K | - | - | 1 | - | - | -
38 | JB-601 | Spray Dryer | 1st | XA-60202L | 325-01-600-PD-08 | - | XA-60202L | - | - | 1 | - | - | -
39 | JB-601 | Spray Dryer | 1st | XA-60202M | 325-01-600-PD-08 | - | XA-60202M | - | - | 1 | - | - | -
40 | JB-601 | Spray Dryer | 1st | XV-60240 | 325-01-600-PD-08 | XV-60240D | XV-60240D | 3-25-01-602-PD-05 | 1 | 2 | - | - | -
41 | JB-601 | Spray Dryer | 1st | DPI-60240 | 325-01-600-PD-05 | - | DPI-60240 | - | - | - | - | 1 | -
42 | JB-601 | Spray Dryer | 1st | ES-60202 | 325-01-600-PD-01 | - | ES-60202 | - | - | 1 | - | - | -
43 | JB-601 | Spray Dryer | 1st | PT-60205 | 325-01-600-PD-01 | PT-60205 | PT-60205 | 3-25-01-602-PD-01 | - | - | - | 1 | -
44 | JB-601 | Spray Dryer | 1st | FS-60205 | 325-01-600-PD-01 | FS-60205 | FS-60205 | 3-25-01-602-PD-01 | - | 1 | - | - | -
45 | JB-601 | Spray Dryer | 1st | XS-60205 | 325-01-600-PD-01 | - | XS-60205 | - | 1 | - | - | - | -
46 | JB-601 | Spray Dryer | 1st | VS-60205 | 325-01-600-PD-01 | VS-60205 | VS-60205 | 3-25-01-602-PD-01 | - | 1 | - | - | -
47 | JB-601 | Spray Dryer | 1st | XV-60205A | 325-01-600-PD-01 | XV-60205A | XV-60205A | 3-25-01-602-PD-01 | 1 | 2 | - | - | -
48 | JB-601 | Spray Dryer | 1st | YA-60205 | 325-01-600-PD-01 | - | YA-60205 | - | - | 1 | - | - | -
49 | JB-601 | Spray Dryer | 1st | YI-60205 | 325-01-600-PD-01 | - | YI-60205 | - | - | 1 | - | - | -
1 | JB-602 | Spray Dryer | 5th | AT-60241 | 325-01-600-PD-05 | AT-60241 | AT-60241 | 3-25-01-602-PD-05 | - | - | - | 1 | -
2 | JB-602 | Spray Dryer | 5th | DPT-60203 | 325-01-600-PD-03 | DPT-60203 | DPT-60203 | 3-25-01-602-PD-03 | - | - | - | 1 | -
3 | JB-602 | Spray Dryer | 5th | FT-60210 | 325-01-600-PD-03 | FT-60210 | FT-60210 | 3-25-01-602-PD-03 | - | - | - | 2 | -
4 | JB-602 | Spray Dryer | 5th | FT-60211 | 325-01-600-PD-03 | FT-60211 | FT-60211 | 3-25-01-602-PD-03 | - | - | - | 2 | -
5 | JB-602 | Spray Dryer | 5th | FT-60902 | 325-01-600-PD-09 | FT-60202 | FT-60202 | 3-25-01-602-PD-09 | - | 1 | - | 1 | -
6 | JB-602 | Spray Dryer | 4th | LSH-60251 | 325-01-600-PD-04 | LSH-60251 | LSH-60251 | 3-25-01-602-PD-04 | - | 1 | - | - | -
7 | JB-602 | Spray Dryer | 5th | PSL-60220 | 325-01-600-PD-04 | PSL-60220 | PSL-60220 | 3-25-01-602-PD-04 | - | 1 | - | - | -
8 | JB-602 | Spray Dryer | 5th | PT-60210 | 325-01-600-PD-03 | PT-60210 | PT-60210 | 3-25-01-602-PD-03 | - | - | - | 1 | -
9 | JB-602 | Spray Dryer | 5th | PT-60215 | 325-01-600-PD-03 | PT-60215 | PT-60215 | 3-25-01-602-PD-03 | - | - | - | 1 | -
10 | JB-602 | Spray Dryer | 5th | PT-60216 | 325-01-600-PD-03 | PT-60216 | PT-60216 | 3-25-01-602-PD-03 | - | - | - | 1 | -
11 | JB-602 | Spray Dryer | 5th | PT-60240 | 325-01-600-PD-05 | PT-60240 | PT-60240 | 3-25-01-602-PD-05 | - | - | - | 1 | -
12 | JB-602 | Spray Dryer | 5th | PT-60241 | 325-01-600-PD-05 | PT-60241 | PT-60241 | 3-25-01-602-PD-05 | - | - | - | 1 | -
13 | JB-602 | Spray Dryer | 3rd | TSH-60230 | 325-01-600-PD-04 | TSH-60230 | TSH-60230 | 3-25-01-602-PD-04 | - | 1 | - | - | -
14 | JB-602 | Spray Dryer | 5th | TSH-60240 | 325-01-600-PD-05 | TSH-60240 | TSH-60240 | 3-25-01-602-PD-05 | - | 1 | - | - | -
15 | JB-602 | Spray Dryer | 5th | TT-60210 | 325-01-600-PD-03 | TT-60210 | TT-60210 | 3-25-01-602-PD-03 | - | - | - | 1 | -
16 | JB-602 | Spray Dryer | 5th | TT-60210A | 325-01-600-PD-03 | - | TT-60210A | - | - | - | - | 1 | -
17 | JB-602 | Spray Dryer | 5th | TT-60210B | 325-01-600-PD-03 | - | TT-60210B | - | - | - | - | 1 | -
18 | JB-602 | Spray Dryer | 5th | TT-60211 | 325-01-600-PD-03 | TT-60211 | TT-60211 | 3-25-01-602-PD-03 | - | - | - | 1 | -
19 | JB-602 | Spray Dryer | 5th | TT-60214 | 325-01-600-PD-03 | TT-60214 | TT-60214 | 3-25-01-602-PD-03 | - | - | - | 1 | -
20 | JB-602 | Spray Dryer | 5th | TT-60215A | 325-01-600-PD-03 | TT-60215A | TT-60215A | 3-25-01-602-PD-03 | - | - | - | 1 | -
21 | JB-602 | Spray Dryer | 5th | TT-60215B | 325-01-600-PD-03 | TT-60215B | TT-60215B | 3-25-01-602-PD-03 | - | - | - | 1 | -
22 | JB-602 | Spray Dryer | 5th | TT-60216 | 325-01-600-PD-03 | TT-60216 | TT-60216 | 3-25-01-602-PD-03 | - | - | - | 1 | -
23 | JB-602 | Spray Dryer | 5th | TT-60240 | 325-01-600-PD-05 | TT-60240 | TT-60240 | 3-25-01-602-PD-05 | - | - | - | 1 | -
24 | JB-602 | Spray Dryer | 5th | TT-60241A | 325-01-600-PD-05 | TT-60241A | TT-60241A | 3-25-01-602-PD-05 | - | - | - | 1 | -
25 | JB-602 | Spray Dryer | 5th | TT-60241B | 325-01-600-PD-05 | TT-60241B | TT-60241B | 3-25-01-602-PD-05 | - | - | - | 1 | -
26 | JB-602 | Spray Dryer | 5th | TV-60214 | 325-01-600-PD-03 | TV-60214 | TV-60214 | 3-25-01-602-PD-03 | - | - | 1 | - | -
27 | JB-602 | Spray Dryer | 3rd | TV-60702 | 325-01-600-PD-07 | TV-60202 | TV-60202 | 3-25-01-602-PD-07 | - | - | 1 | - | -
28 | JB-602 | Spray Dryer | 5th | TT-60212A | 325-01-600-PD-03 | TT-60212A | TT-60212A | 3-25-01-602-PD-03 | - | - | - | 1 | -
29 | JB-602 | Spray Dryer | 5th | TT-60212B | 325-01-600-PD-03 | TT-60212B | TT-60212B | 3-25-01-602-PD-03 | - | - | - | 1 | -
30 | JB-602 | Spray Dryer | 5th | VT-60210A | 325-01-600-PD-03 | VT-60210A | VT-60210A | 3-25-01-602-PD-03 | - | - | - | 1 | -
31 | JB-602 | Spray Dryer | 5th | VT-60210B | 325-01-600-PD-03 | VT-60210B | VT-60210B | 3-25-01-602-PD-03 | - | - | - | 1 | -
32 | JB-602 | Spray Dryer | 5th | VT-60241A | 325-01-600-PD-05 | VT-60241A | VT-60241A | 3-25-01-602-PD-05 | - | - | - | 1 | -
33 | JB-602 | Spray Dryer | 5th | VT-60241B | 325-01-600-PD-05 | VT-60241B | VT-60241B | 3-25-01-602-PD-05 | - | - | - | 1 | -
34 | JB-602 | Spray Dryer | 5th | XV-60301 | 325-01-600-PD-03 | XV-60214 | XV-60214 | 3-25-01-602-PD-03 | 1 | 2 | - | - | -
35 | JB-602 | Spray Dryer | 5th | BFY-60210 | 325-01-600-PD-03 | - | BFY-60210 | - | 1 | 1 | - | - | 1
36 | JB-602 | Spray Dryer | 5th | BFY-60211 | 325-01-600-PD-03 | - | BFY-60211 | - | 1 | 1 | - | - | 1
37 | JB-602 | Spray Dryer | 5th | BFY-60240 | 325-01-600-PD-05 | - | BFY-60240 | - | 1 | 1 | - | - | 1
38 | JB-602 | Spray Dryer | 5th | PCY-60215 | 325-01-600-PD-03 | - | PCY-60215 | - | 1 | 1 | - | - | 1
39 | JB-602 | Spray Dryer | 5th | XV-60241 | 325-01-600-PD-05 | XV-60241 | XV-60241 | 3-25-01-602-PD-05 | 1 | 2 | - | - | -
40 | JB-602 | Spray Dryer | 4th | XS-60240A | 325-01-600-PD-05 | - | XS-60240A | - | 1 | - | - | - | -
41 | JB-602 | Spray Dryer | 4th | XS-60240B | 325-01-600-PD-05 | - | XS-60240B | - | 1 | - | - | - | -
42 | JB-602 | Spray Dryer | 4th | XA-60240A | 325-01-600-PD-05 | - | XA-60240A | - | - | 1 | - | - | -
43 | JB-602 | Spray Dryer | 4th | XA-60240B | 325-01-600-PD-05 | - | XA-60240B | - | - | 1 | - | - | -
44 | JB-602 | Spray Dryer | 4th | XS-60241A | 325-01-600-PD-05 | - | XS-60241A | - | 1 | - | - | - | -
45 | JB-602 | Spray Dryer | 4th | XA-60241A | 325-01-600-PD-05 | - | XA-60241A | - | - | 1 | - | - | -
46 | JB-602 | Spray Dryer | 4th | XA-60241B | 325-01-600-PD-05 | - | XA-60241B | - | - | 1 | - | - | -
47 | JB-602 | Spray Dryer | 4th | TSH-60241A | 325-01-600-PD-05 | TSH-60241A | TSH-60241A | 3-25-01-602-PD-05 | - | 1 | - | - | -
48 | JB-602 | Spray Dryer | 4th | TSL-60241B | 325-01-600-PD-05 | TSL-60241B | TSL-60241B | 3-25-01-602-PD-05 | - | 1 | - | - | -
49 | JB-602 | Spray Dryer | 3rd | XS-60242A | 325-01-600-PD-05 | - | XS-60242A | - | 1 | - | - | - | -
50 | JB-602 | Spray Dryer | 3rd | XA-60242A | 325-01-600-PD-05 | - | XA-60242A | - | - | 1 | - | - | -
51 | JB-602 | Spray Dryer | 3rd | XA-60242B | 325-01-600-PD-05 | - | XA-60242B | - | - | 1 | - | - | -
52 | JB-602 | Spray Dryer | 3rd | TSH-60242A | 325-01-600-PD-05 | TSH-60242A | TSH-60242A | 3-25-01-602-PD-05 | - | 1 | - | - | -
53 | JB-602 | Spray Dryer | 3rd | TSL-60242B | 325-01-600-PD-05 | TSL-60242B | TSL-60242B | 3-25-01-602-PD-05 | - | 1 | - | - | -
54 | JB-602 | Spray Dryer | 4th | XS-60243A | 325-01-600-PD-05 | - | XS-60243A | - | 1 | - | - | - | -
55 | JB-602 | Spray Dryer | 4th | XA-60243A | 325-01-600-PD-05 | - | XA-60243A | - | - | 1 | - | - | -
56 | JB-602 | Spray Dryer | 4th | XA-60243B | 325-01-600-PD-05 | - | XA-60243B | - | - | 1 | - | - | -
57 | JB-602 | Spray Dryer | 4th | TSH-60243A | 325-01-600-PD-05 | TSH-60243A | TSH-60243A | 3-25-01-602-PD-05 | - | 1 | - | - | -
58 | JB-602 | Spray Dryer | 4th | TSL-60243B | 325-01-600-PD-05 | TSL-60243B | TSL-60243B | 3-25-01-602-PD-05 | - | 1 | - | - | -
1 | JB-606 | Spray Dryer | 6th | DPT-60901 | 325-01-600-PD-09 | DPT-60201 | DPT-60201 | 3-25-01-602-PD-09 | - | - | - | 1 | -
2 | JB-606 | Spray Dryer | 6th | FT-60901 | 325-01-600-PD-09 | FT-60203 | FT-60203 | 3-25-01-602-PD-09 | - | 1 | - | 1 | -
3 | JB-606 | Spray Dryer | 6th | LSH-60250 | 325-01-600-PD-05 | LSH-60250 | LSH-60250 | 3-25-01-602-PD-05 | - | 1 | - | - | -
4 | JB-606 | Spray Dryer | 6th | SV-60220 | 325-01-600-PD-04 | SV-60220 | SV-60220 | 3-25-01-602-PD-04 | 1 | - | - | - | -
5 | JB-606 | Spray Dryer | 6th | XA-60261 | 325-01-600-PD-05 | - | XA-60261 | - | - | 1 | - | - | -
6 | JB-606 | Spray Dryer | 6th | XA-60262 | 325-01-600-PD-05 | - | XA-60262 | - | - | 1 | - | - | -
7 | JB-606 | Spray Dryer | 6th | XS-60260 | 325-01-600-PD-05 | - | XS-60260 | - | 1 | - | - | - | -
1 | JB-607 | Spray Dryer | 7th | FT-60221 | 325-01-600-PD-04 | FT-60221 | FT-60221 | 3-25-01-602-PD-04 | - | - | - | 1 | -
2 | JB-607 | Spray Dryer | 7th | FT-60261FA | 325-01-600-PD-02 | FT-60261FA | FT-60261FA | 3-25-01-602-PD-02 | - | - | - | 1 | -
3 | JB-607 | Spray Dryer | 7th | FT-60261FB | 325-01-600-PD-02 | FT-60261FB | FT-60261FB | 3-25-01-602-PD-02 | - | - | - | 1 | -
4 | JB-607 | Spray Dryer | 7th | FT-60261FC | 325-01-600-PD-02 | FT-60261FC | FT-60261FC | 3-25-01-602-PD-02 | - | - | - | 1 | -
5 | JB-607 | Spray Dryer | 7th | FT-60261FD | 325-01-600-PD-02 | FT-60261FD | FT-60261FD | 3-25-01-602-PD-02 | - | - | - | 1 | -
6 | JB-607 | Spray Dryer | 7th | FT-60262FE | 325-01-600-PD-02 | FT-60262FE | FT-60262FE | 3-25-01-602-PD-02 | - | - | - | 1 | -
7 | JB-607 | Spray Dryer | 7th | FT-60262FF | 325-01-600-PD-02 | FT-60262FF | FT-60262FF | 3-25-01-602-PD-02 | - | - | - | 1 | -
8 | JB-607 | Spray Dryer | 7th | FT-60262FG | 325-01-600-PD-02 | FT-60262FG | FT-60262FG | 3-25-01-602-PD-02 | - | - | - | 1 | -
9 | JB-607 | Spray Dryer | 7th | FT-60262FH | 325-01-600-PD-02 | FT-60262FH | FT-60262FH | 3-25-01-602-PD-02 | - | - | - | 1 | -
10 | JB-607 | Spray Dryer | 7th | FT-60263FJ | 325-01-600-PD-02 | FT-60263FJ | FT-60263FJ | 3-25-01-602-PD-02 | - | - | - | 1 | -
11 | JB-607 | Spray Dryer | 7th | FT-60263FK | 325-01-600-PD-02 | FT-60263FK | FT-60263FK | 3-25-01-602-PD-02 | - | - | - | 1 | -
12 | JB-607 | Spray Dryer | 7th | FT-60263FL | 325-01-600-PD-02 | FT-60263FL | FT-60263FL | 3-25-01-602-PD-02 | - | - | - | 1 | -
13 | JB-607 | Spray Dryer | 7th | FT-60263FM | 325-01-600-PD-02 | FT-60263FM | FT-60263FM | 3-25-01-602-PD-02 | - | - | - | 1 | -
14 | JB-607 | Spray Dryer | 7th | FT-60264FN | 325-01-600-PD-02 | FT-60264FN | FT-60264FN | 3-25-01-602-PD-02 | - | - | - | 1 | -
15 | JB-607 | Spray Dryer | 7th | FT-60264FP | 325-01-600-PD-02 | FT-60264FP | FT-60264FP | 3-25-01-602-PD-02 | - | - | - | 1 | -
16 | JB-607 | Spray Dryer | 7th | FT-60264FQ | 325-01-600-PD-02 | FT-60264FQ | FT-60264FQ | 3-25-01-602-PD-02 | - | - | - | 1 | -
17 | JB-607 | Spray Dryer | 7th | FT-60264FR | 325-01-600-PD-02 | FT-60264FR | FT-60264FR | 3-25-01-602-PD-02 | - | - | - | 1 | -
18 | JB-607 | Spray Dryer | 7th | PT-60201 | - | PT-60201 | PT-60201 | 3-25-01-602-PD-02 | - | - | - | 1 | -
19 | JB-607 | Spray Dryer | 7th | PT-60221 | 325-01-600-PD-02 | PT-60221 | PT-60221 | 3-25-01-602-PD-04 | - | - | - | 1 | -
20 | JB-607 | Spray Dryer | 7th | PT-60221 | 325-01-600-PD-04 | PT-60221 | PT-60221 | 3-25-01-602-PD-04 | - | - | - | 1 | -
21 | JB-607 | Spray Dryer | 7th | PV-60201 | 325-01-600-PD-02 | PV-60201 | PV-60201 | 3-25-01-602-PD-02 | - | - | 1 | - | -
22 | JB-607 | Spray Dryer | 7th | TT-60201 | 325-01-600-PD-02 | TT-60201 | TT-60201 | 3-25-01-602-PD-02 | - | - | - | 1 | -
23 | JB-607 | Spray Dryer | 7th | TT-60702 | 325-01-600-PD-07 | TT-60202 | TT-60202 | 3-25-01-602-PD-07 | - | - | - | 1 | -
24 | JB-607 | Spray Dryer | 7th | XV-60201 | 325-01-600-PD-02 | XV-60201 | XV-60201 | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
25 | JB-607 | Spray Dryer | 7th | BFY-60220 | 325-01-600-PD-04 | - | BFY-60220 | - | 1 | 1 | - | - | 1
26 | JB-607 | Spray Dryer | 7th | FT-60701 | 325-01-600-PD-07 | FT-60207 | FT-60207 | 3-25-01-602-PD-07 | - | - | - | 1 | -
27 | JB-607 | Spray Dryer | 7th | PT-60701 | 325-01-600-PD-07 | PT-60207 | PT-60207 | 3-25-01-602-PD-07 | - | - | - | 1 | -
28 | JB-607 | Spray Dryer | 7th | SV-60701 | 325-01-600-PD-07 | SV-60207 | SV-60207 | 3-25-01-602-PD-07 | 1 | 2 | - | - | -
29 | JB-607 | Spray Dryer | 7th | TT-60701 | 325-01-600-PD-07 | TT-60207 | TT-60207 | 3-25-01-602-PD-07 | - | - | - | 1 | -
30 | JB-607 | Spray Dryer | 7th | XV-60261FA | 325-01-600-PD-02 | XV-60261FA | XV-60261FA | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
31 | JB-607 | Spray Dryer | 7th | XV-60261FB | 325-01-600-PD-02 | XV-60261FB | XV-60261FB | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
32 | JB-607 | Spray Dryer | 7th | XV-60261FC | 325-01-600-PD-02 | XV-60261FC | XV-60261FC | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
33 | JB-607 | Spray Dryer | 7th | XV-60261FD | 325-01-600-PD-02 | XV-60261FD | XV-60261FD | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
34 | JB-607 | Spray Dryer | 7th | XV-60261SA | 325-01-600-PD-02 | XV-60261SA | XV-60261SA | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
35 | JB-607 | Spray Dryer | 7th | XV-60261SB | 325-01-600-PD-02 | XV-60261SB | XV-60261SB | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
36 | JB-607 | Spray Dryer | 7th | XV-60261SC | 325-01-600-PD-02 | XV-60261SC | XV-60261SC | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
37 | JB-607 | Spray Dryer | 7th | XV-60261SD | 325-01-600-PD-02 | XV-60261SD | XV-60261SD | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
38 | JB-607 | Spray Dryer | 7th | XV-60262FE | 325-01-600-PD-02 | XV-60262FE | XV-60262FE | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
39 | JB-607 | Spray Dryer | 7th | XV-60262FF | 325-01-600-PD-02 | XV-60262FF | XV-60262FF | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
40 | JB-607 | Spray Dryer | 7th | XV-60262FG | 325-01-600-PD-02 | XV-60262FG | XV-60262FG | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
41 | JB-607 | Spray Dryer | 7th | XV-60262FH | 325-01-600-PD-02 | XV-60262FH | XV-60262FH | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
42 | JB-607 | Spray Dryer | 7th | XV-60262SE | 325-01-600-PD-02 | XV-60262SE | XV-60262SE | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
43 | JB-607 | Spray Dryer | 7th | XV-60262SF | 325-01-600-PD-02 | XV-60262SF | XV-60262SF | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
44 | JB-607 | Spray Dryer | 7th | XV-60262SG | 325-01-600-PD-02 | XV-60262SG | XV-60262SG | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
45 | JB-607 | Spray Dryer | 7th | XV-60262SH | 325-01-600-PD-02 | XV-60262SH | XV-60262SH | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
46 | JB-607 | Spray Dryer | 7th | XV-60263FJ | 325-01-600-PD-02 | XV-60263FJ | XV-60263FJ | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
47 | JB-607 | Spray Dryer | 7th | XV-60263FK | 325-01-600-PD-02 | XV-60263FK | XV-60263FK | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
48 | JB-607 | Spray Dryer | 7th | XV-60263FL | 325-01-600-PD-02 | XV-60263FL | XV-60263FL | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
49 | JB-607 | Spray Dryer | 7th | XV-60263FM | 325-01-600-PD-02 | XV-60263FM | XV-60263FM | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
50 | JB-607 | Spray Dryer | 7th | XV-60263SJ | 325-01-600-PD-02 | XV-60263SJ | XV-60263SJ | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
51 | JB-607 | Spray Dryer | 7th | XV-60263SK | 325-01-600-PD-02 | XV-60263SK | XV-60263SK | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
52 | JB-607 | Spray Dryer | 7th | XV-60263SL | 325-01-600-PD-02 | XV-60263SL | XV-60263SL | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
53 | JB-607 | Spray Dryer | 7th | XV-60263SM | 325-01-600-PD-02 | XV-60263SM | XV-60263SM | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
54 | JB-607 | Spray Dryer | 7th | XV-60264FN | 325-01-600-PD-02 | XV-60264FN | XV-60264FN | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
55 | JB-607 | Spray Dryer | 7th | XV-60264FP | 325-01-600-PD-02 | XV-60264FP | XV-60264FP | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
56 | JB-607 | Spray Dryer | 7th | XV-60264FQ | 325-01-600-PD-02 | XV-60264FQ | XV-60264FQ | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
57 | JB-607 | Spray Dryer | 7th | XV-60264FR | 325-01-600-PD-02 | XV-60264FR | XV-60264FR | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
58 | JB-607 | Spray Dryer | 7th | XV-60264SN | 325-01-600-PD-02 | XV-60264SN | XV-60264SN | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
59 | JB-607 | Spray Dryer | 7th | XV-60264SP | 325-01-600-PD-02 | XV-60264SP | XV-60264SP | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
60 | JB-607 | Spray Dryer | 7th | XV-60264SQ | 325-01-600-PD-02 | XV-60264SQ | XV-60264SQ | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
61 | JB-607 | Spray Dryer | 7th | XV-60264SR | 325-01-600-PD-02 | XV-60264SR | XV-60264SR | 3-25-01-602-PD-02 | 1 | 2 | - | - | -
62 | JB-607 | Spray Dryer | 7th | XV-60261 | 325-01-600-PD-02 | - | XV-60261 | - | 1 | 2 | - | - | -
63 | JB-607 | Spray Dryer | 7th | XV-60262 | 325-01-600-PD-02 | - | XV-60262 | - | 1 | 2 | - | - | -
64 | JB-607 | Spray Dryer | 7th | XV-60263 | 325-01-600-PD-02 | - | XV-60263 | - | 1 | 2 | - | - | -
65 | JB-607 | Spray Dryer | 7th | XV-60264 | 325-01-600-PD-02 | - | XV-60264 | - | 1 | 2 | - | - | -
66 | JB-607 | Spray Dryer | 7th | XA-FH-60210A | 325-01-600-PD-06 | - | XA-FH-60210A | - | - | 1 | - | - | -
67 | JB-607 | Spray Dryer | 7th | XA-FH-60210B | 325-01-600-PD-06 | - | XA-FH-60210B | - | - | 1 | - | - | -
68 | JB-607 | Spray Dryer | 7th | XA-FH-60210C | 325-01-600-PD-06 | - | XA-FH-60210C | - | - | 1 | - | - | -
69 | JB-607 | Spray Dryer | 7th | XA-FH-60210D | 325-01-600-PD-06 | - | XA-FH-60210D | - | - | 1 | - | - | -
70 | JB-607 | Spray Dryer | 7th | XA-FH-60210E | 325-01-600-PD-06 | - | XA-FH-60210E | - | - | 1 | - | - | -
71 | JB-607 | Spray Dryer | 7th | XS-FH-60210A | 325-01-600-PD-06 | - | XS-FH-60210A | - | 1 | - | - | - | -
72 | JB-607 | Spray Dryer | 7th | XS-FH-60210B | 325-01-600-PD-06 | - | XS-FH-60210B | - | 1 | - | - | - | -
73 | JB-607 | Spray Dryer | 7th | XS-FH-60210C | 325-01-600-PD-06 | - | XS-FH-60210C | - | 1 | - | - | - | -
74 | JB-607 | Spray Dryer | 7th | XS-FH-60210D | 325-01-600-PD-06 | - | XS-FH-60210D | - | 1 | - | - | - | -
75 | JB-607 | Spray Dryer | 7th | TI-FH-60210 | 325-01-600-PD-06 | - | TI-FH-60210 | - | - | - | - | 1 | -
76 | JB-607 | Spray Dryer | 7th | UY-FH-60210A | 325-01-600-PD-06 | - | UY-FH-60210A | - | - | - | - | 1 | -
77 | JB-607 | Spray Dryer | 7th | UY-FH-60210B | 325-01-600-PD-06 | - | UY-FH-60210B | - | - | - | 1 | - | -
78 | JB-607 | Spray Dryer | 7th | COM-FH-60210B | 325-01-600-PD-06 | - | COM-FH-60210B | - | - | - | - | - | 1
1 | JB-608 | Spray Dryer | 8th | TT-60245 | 325-01-600-PD-05 | TT-60245 | TT-60245 | 3-25-01-602-PD-05 | - | - | - | 1 | -
1 | RIO-200 | CIP Water System | 2nd | PCY-81001 | 3-25-01-810-PD-01 |  | 0 |  | 1 | 1 | - | - | 1
2 | RIO-200 | CIP Water System | 2nd | PCY-81002 | 3-25-01-810-PD-01 |  | 0 |  | 1 | 1 | - | - | 1
1 | RIO-200 | LPG System | 1st | FT-80301 | 325-01-803-PD-02 | FT-913201 | FT-913201 | 3-25-01-913-PD-02 | - | 1 | - | 2 | -
2 | RIO-200 | LPG System | 1st | PT-80302 | 325-01-803-PD-02 | PT-913201 | PT-913201 | 3-25-01-913-PD-02 | - | - | - | 1 | -
3 | RIO-200 | LPG System | 1st | NEW | - | XV-913201 | XV-913201 | 3-25-01-913-PD-02 | 1 | 2 | - | 1 | -
4 | RIO-200 | LPG System | 1st | XA-80305A | 325-01-803-PD-02 | - | XA-80305A | - | - | 1 | - | - | -
5 | RIO-200 | LPG System | 1st | XA-80305B | 325-01-803-PD-02 | - | XA-80305B | - | - | 1 | - | - | -
6 | RIO-200 | LPG System | 1st | XA-80305C | 325-01-803-PD-02 | - | XA-80305C | - | - | 1 | - | - | -
7 | RIO-200 | LPG System | 1st | XA-80305D | 325-01-803-PD-02 | - | XA-80305D | - | - | 1 | - | - | -
8 | RIO-200 | LPG System | 1st | XA-80305E | 325-01-803-PD-02 | - | XA-80305E | - | - | 1 | - | - | -
9 | RIO-200 | LPG System | 1st | XA-80305F | 325-01-803-PD-02 | - | XA-80305F | - | - | 1 | - | - | -
10 | RIO-200 | LPG System | 1st | XS-80305 | 325-01-803-PD-02 | - | XS-80305 | - | 1 | - | - | - | -
11 | RIO-200 | LPG System | 1st | XA-80306A | 325-01-803-PD-02 | - | XA-80306A | - | - | 1 | - | - | -
12 | RIO-200 | LPG System | 1st | XA-80306B | 325-01-803-PD-02 | - | XA-80306B | - | - | 1 | - | - | -
13 | RIO-200 | LPG System | 1st | XA-80306C | 325-01-803-PD-02 | - | XA-80306C | - | - | 1 | - | - | -
14 | RIO-200 | LPG System | 1st | XA-80306D | 325-01-803-PD-02 | - | XA-80306D | - | - | 1 | - | - | -
15 | RIO-200 | LPG System | 1st | XA-80306E | 325-01-803-PD-02 | - | XA-80306E | - | - | 1 | - | - | -
16 | RIO-200 | LPG System | 1st | XA-80306F | 325-01-803-PD-02 | - | XA-80306F | - | - | 1 | - | - | -
17 | RIO-200 | LPG System | 1st | XS-80306 | 325-01-803-PD-02 | - | XS-80306 | - | 1 | - | - | - | -
1 | RIO-200 | Boiler System | 1st |  |  |  | 0 | External Remote Setpoint | - | - | - | 1 | -
2 | RIO-200 | Boiler System | 1st |  |  |  | 0 | Spare | - | 1 | - | - | -
3 | RIO-200 | Boiler System | 1st |  |  |  | 0 | Spare | - | 1 | - | - | -
4 | RIO-200 | Boiler System | 1st |  |  |  | 0 | Spare | - | 1 | - | - | -
5 | RIO-200 | Boiler System | 1st |  |  |  | 0 | Spare | - | 1 | - | - | -
6 | RIO-200 | Boiler System | 1st |  |  |  | 0 | Spare | - | 1 | - | - | -
7 | RIO-200 | Boiler System | 1st |  |  |  | 0 | Spare | - | 1 | - | - | -
8 | RIO-200 | Boiler System | 1st |  |  |  | 0 | Boiler Common Alarm | 1 | - | - | - | -
9 | RIO-200 | Boiler System | 1st |  |  |  | 0 | Boiler trip | 1 | - | - | - | -
10 | RIO-200 | Boiler System | 1st |  |  |  | 0 | Burner Trip | 1 | - | - | - | -
11 | RIO-200 | Boiler System | 1st |  |  |  | 0 | Boiler Operation | 1 | - | - | - | -
12 | RIO-200 | Boiler System | 1st |  |  |  | 0 | Remote Setpoint Activateed | 1 | - | - | - | -
13 | RIO-200 | Boiler System | 1st |  |  |  | 0 | Remote Setpoint Status | 1 | - | - | - | -
1 | RIO-200 | Process Water | 1st | FT-93001 | 325-01-930-PD-02 | FT-936202 | FT-936202 | 3-25-01-930-PD-07 | - | 1 | - | 1 | -
2 | RIO-200 | Process Water | 1st | FT-90301 | 325-01-930-PD-01 | FT-936201 | FT-936201 | 3-25-01-930-PD-08 | - | 1 | - | 1 | -
1 | IS-JB-612 | Packing Tower | 2nd | DPT-61310 | 325-01-613-PD-03 | DPT-61310 | DPT-61310 | 3-25-01-613-PD-03 | - | - | - | 1 | -
2 | IS-JB-612 | Packing Tower | 2nd | DPT-61312 | 325-01-613-PD-05 | DPT-61312 | DPT-61312 | 3-25-01-613-PD-05 | - | - | - | 1 | -
3 | IS-JB-612 | Packing Tower | 1st | LSH-61304 | 325-01-613-PD-03 | LSH-61304 | LSH-61304 | 3-25-01-613-PD-03 | - | 1 | - | - | -
4 | IS-JB-612 | Packing Tower | 1st | LSH-61305 | 325-01-613-PD-05 | LSH-61305 | LSH-61305 | 3-25-01-613-PD-05 | - | 1 | - | - | -
5 | IS-JB-612 | Packing Tower | 1st | - | - | LSH-61307 | LSH-61307 | 3-25-01-613-PD-01 | - | 1 | - | - | -
6 | IS-JB-612 | Packing Tower | 2nd | LSH-61312 | 325-01-613-PD-05 | LSH-61312 | LSH-61312 | 3-25-01-613-PD-05 | - | 1 | - | - | -
7 | IS-JB-612 | Packing Tower | 3rd | ZS-61312 | 325-01-613-PD-01 | ZS-61312 | ZS-61312 | 3-25-01-613-PD-01 | - | 1 | - | - | -
8 | IS-JB-612 | Packing Tower | 3rd | ZS-61313 | 325-01-613-PD-01 | ZS-61313 | ZS-61313 | 3-25-01-613-PD-01 | - | 1 | - | - | -
9 | IS-JB-612 | Packing Tower | 2nd | PSE-61302 | 325-01-613-PD-03 | PSE-61302 | PSE-61302 | 3-25-01-613-PD-03 | - | 1 | - | - | -
10 | IS-JB-612 | Packing Tower | 2nd | PSE-61303 | 325-01-613-PD-05 | PSE-61303 | PSE-61303 | 3-25-01-613-PD-05 | - | 1 | - | - | -
11 | IS-JB-612 | Packing Tower | 2nd | ISV-61303 | 325-01-613-PD-03 | ISV-61303 | ISV-61303 | 3-25-01-613-PD-03 | - | 1 | - | - | -
12 | IS-JB-612 | Packing Tower | 2nd | ISV-61304 | 325-01-613-PD-05 | ISV-61304 | ISV-61304 | 3-25-01-613-PD-05 | - | 1 | - | - | -
13 | IS-JB-612 | Packing Tower | 2nd | - | - | SC-61301 | SC-61301 | - | - | 1 | - | - | -
14 | IS-JB-612 | Packing Tower | 2nd | - | - | SC-61302 | SC-61302 | - | - | 1 | - | - | -
15 | IS-JB-612 | Packing Tower | 2nd | - | - | RV-61301 | RV-61301 | - | - | 1 | - | - | -
16 | IS-JB-612 | Packing Tower | 2nd | - | - | RV-61305 | RV-61305 | - | - | 1 | - | - | -
17 | IS-JB-612 | Packing Tower | 2nd | - | - | RV-61304 | RV-61304 | - | - | 1 | - | - | -
1 | IS-JB-618 | Packing Tower | 8th | DPT-61301 | 325-01-613-PD-01 | DPT-61301 | DPT-61301 | 3-25-01-613-PD-01 | - | - | - | 1 | -
2 | IS-JB-618 | Packing Tower | 9th | DPT-61302 | 325-01-613-PD-01 | DPT-61302 | DPT-61302 | 3-25-01-613-PD-01 | - | - | - | 1 | -
3 | IS-JB-618 | Packing Tower | 7th | LSH-61301 | 325-01-613-PD-01 | LSH-61301 | LSH-61301 | 3-25-01-613-PD-01 | - | 1 | - | - | -
4 | IS-JB-618 | Packing Tower | 6th | LSL-61302 | 325-01-613-PD-01 | LSL-61302 | LSL-61302 | 3-25-01-613-PD-01 | - | 1 | - | - | -
5 | IS-JB-618 | Packing Tower | 7th | LSH-61303 | 325-01-613-PD-01 | - | LSH-61303 | - | - | 1 | - | - | -
6 | IS-JB-618 | Packing Tower | 9th | LSH-61306 | 325-01-613-PD-01 | LSH-61306 | LSH-61306 | 3-25-01-613-PD-01 | - | 1 | - | - | -
7 | IS-JB-618 | Packing Tower | 8th | - | - | LSH-61308 | LSH-61308 | 3-25-01-613-PD-01 | - | 1 | - | - | -
8 | IS-JB-618 | Packing Tower | 8th | LT-61301 | 325-01-613-PD-01 | LT-61301 | LT-61301 | 3-25-01-613-PD-01 | - | - | - | 1 | -
9 | IS-JB-618 | Packing Tower | 8th | PT-61301 | 325-01-613-PD-01 | PT-61301 | PT-61301 | 3-25-01-613-PD-01 | - | - | - | 1 | -
10 | IS-JB-618 | Packing Tower | 8th | PT-61303 | 325-01-613-PD-01 | - | PT-61303 | 3-25-01-613-PD-01 | - | - | - | 1 | -
11 | IS-JB-618 | Packing Tower | 9th | PT-61304 | 325-01-613-PD-01 | PT-61304 | PT-61304 | 3-25-01-613-PD-01 | - | - | - | 1 | -
12 | IS-JB-618 | Packing Tower | 9th | PT-61305 | 325-01-613-PD-01 | PT-61305 | PT-61305 | 3-25-01-613-PD-01 | - | - | - | 1 | -
13 | IS-JB-618 | Packing Tower | 9th | TT-61301 | 325-01-613-PD-01 | TT-61301 | TT-61301 | 3-25-01-613-PD-01 | - | - | - | 1 | -
14 | IS-JB-618 | Packing Tower | 9th | TT-61302 | 325-01-613-PD-01 | TT-61302 | TT-61302 | 3-25-01-613-PD-01 | - | - | - | 1 | -
15 | IS-JB-618 | Packing Tower | 5th | ZS-61310 | 325-01-613-PD-01 | ZS-61310 | ZS-61310 | 3-25-01-613-PD-01 | - | 1 | - | - | -
16 | IS-JB-618 | Packing Tower | 5th | ZS-61311 | 325-01-613-PD-01 | ZS-61311 | ZS-61311 | 3-25-01-613-PD-01 | - | 1 | - | - | -
17 | IS-JB-618 | Packing Tower | 9th | PSE-61300 | 325-01-613-PD-01 | PSE-61300 | PSE-61300 | 3-25-01-613-PD-01 | - | 1 | - | - | -
18 | IS-JB-618 | Packing Tower | 8th | PSE-61301 | 325-01-613-PD-01 | PSE-61301 | PSE-61301 | 3-25-01-613-PD-01 | - | 1 | - | - | -
19 | IS-JB-618 | Packing Tower | 9th | ISV-61301 | 325-01-613-PD-01 | ISV-61301 | ISV-61301 | 3-25-01-613-PD-01 | - | 1 | - | - | -
20 | IS-JB-618 | Packing Tower | 9th | PSE-61304 | 325-01-613-PD-01 | PSE-61304 | PSE-61304 | 3-25-01-613-PD-01 | - | 1 | - | - | -
21 | IS-JB-618 | Packing Tower | 8th | PSV-61301A | 325-01-613-PD-01 | PSV-61301A | PSV-61301A | 325-01-613-PD-01 | - | 1 | - | - | -
22 | IS-JB-618 | Packing Tower | 8th | PSV-61301B | 325-01-613-PD-01 | PSV-61301B | PSV-61301B | 325-01-613-PD-01 | - | 1 | - | - | -
1 | IS-JB-603 | Spray Dryer | 1st | LSH-60230 | 325-01-600-PD-04 | LSH-60230 | LSH-60230 | 3-25-01-602-PD-04 | - | 1 | - | - | -
2 | IS-JB-603 | Spray Dryer | 1st | LSH-60231 | 325-01-600-PD-04 | LSH-60231 | LSH-60231 | 3-25-01-602-PD-04 | - | 1 | - | - | -
3 | IS-JB-603 | Spray Dryer | 1st | LSH-60240 | 325-01-600-PD-05 | LSH-60240 | LSH-60240 | 3-25-01-602-PD-05 | - | 1 | - | - | -
4 | IS-JB-603 | Spray Dryer | 2nd | TT-60226 | 325-01-600-PD-04 | TT-60226 | TT-60226 | 3-25-01-602-PD-04 | - | - | - | 1 | -
5 | IS-JB-603 | Spray Dryer | 1st | TT-60227 | 325-01-600-PD-04 | TT-60227 | TT-60227 | 3-25-01-602-PD-04 | - | - | - | 1 | -
6 | IS-JB-603 | Spray Dryer | 1st | ZS-60201E | 325-01-600-PD-04 | ZS-60201E | ZS-60201E | 3-25-01-602-PD-04 | - | 1 | - | - | -
7 | IS-JB-603 | Spray Dryer | 3rd | TT-60225 | 325-01-600-PD-04 | TT-60225 | TT-60225 | 3-25-01-602-PD-04 | - | - | - | 1 | -
8 | IS-JB-603 | Spray Dryer | 3rd | TT-60230 | 325-01-600-PD-04 | TT-60230 | TT-60230 | 3-25-01-602-PD-04 | - | - | - | 1 | -
9 | IS-JB-603 | Spray Dryer | 4th | PT-60230 | 325-01-600-PD-04 | PT-60230 | PT-60230 | 3-25-01-602-PD-04 | - | - | - | 1 | -
10 | IS-JB-603 | Spray Dryer | 4th | PT-60231 | 325-01-600-PD-04 | PT-60231 | PT-60231 | 3-25-01-602-PD-04 | - | - | - | 1 | -
11 | IS-JB-603 | Spray Dryer | 4th | TT-60224 | 325-01-600-PD-04 | TT-60224 | TT-60224 | 3-25-01-602-PD-04 | - | - | - | 1 | -
12 | IS-JB-603 | Spray Dryer | 4th | ZS-60201C | 325-01-600-PD-04 | ZS-60201C | ZS-60201C | 3-25-01-602-PD-04 | - | 1 | - | - | -
13 | IS-JB-603 | Spray Dryer | 4th | ZS-60201D | 325-01-600-PD-04 | ZS-60201D | ZS-60201D | 3-25-01-602-PD-04 | - | 1 | - | - | -
14 | IS-JB-603 | Spray Dryer | 4th | - | - | ZS-60229 | ZS-60229 | 3-25-01-602-PD-04 | - | 1 | - | - | -
15 | IS-JB-603 | Spray Dryer | 4th | - | - | ZS-60230 | ZS-60230 | 3-25-01-602-PD-04 | - | 1 | - | - | -
16 | IS-JB-603 | Spray Dryer | 4th | ZS-60231A | 325-01-600-PD-05 | ZS-60231A | ZS-60231A | 3-25-01-602-PD-05 | - | 1 | - | - | -
17 | IS-JB-603 | Spray Dryer | 4th | ZS-60231B | 325-01-600-PD-05 | ZS-60231B | ZS-60231B | 3-25-01-602-PD-05 | - | 1 | - | - | -
18 | IS-JB-603 | Spray Dryer | 3rd | - | - | AT-40201 | AT-40201 | - | - | 1 | - | - | -
19 | IS-JB-603 | Spray Dryer | 3rd | - | - | AT-40202 | AT-40202 | - | - | 1 | - | - | -
20 | IS-JB-603 | Spray Dryer | 3rd | - | - | AT-40203 | AT-40203 | - | - | 1 | - | - | -
21 | IS-JB-603 | Spray Dryer | 3rd | - | - | RV-60204 | RV-60204 | - | - | 1 | - | - | -
22 | IS-JB-603 | Spray Dryer | 3rd | - | - | PD-60202 | PD-60202 | - | - | 1 | - | - | -
1 | IS-JB-608 | Spray Dryer | 5th | TT-60222 | 325-01-600-PD-04 | TT-60222 | TT-60222 | 3-25-01-602-PD-04 | - | - | - | 1 | -
2 | IS-JB-608 | Spray Dryer | 5th | TT-60223 | 325-01-600-PD-04 | TT-60223 | TT-60223 | 3-25-01-602-PD-04 | - | - | - | 1 | -
3 | IS-JB-608 | Spray Dryer | 5th | XT-60301 | 325-01-600-PD-03 | XT-60201 | XT-60201 | 3-25-01-602-PD-03 | - | - | - | 1 | -
4 | IS-JB-608 | Spray Dryer | 5th | XA-60301 | 325-01-600-PD-03 | XA-60201 | XA-60201 | 3-25-01-602-PD-03 | 1 | - | - | - | -
5 | IS-JB-608 | Spray Dryer | 5th | ZS-60231C | 325-01-600-PD-04 | ZS-60231C | ZS-60231C | 3-25-01-602-PD-04 | - | 1 | - | - | -
6 | IS-JB-608 | Spray Dryer | 5th | ZS-60231D | 325-01-600-PD-04 | ZS-60231D | ZS-60231D | 3-25-01-602-PD-04 | - | 1 | - | - | -
7 | IS-JB-608 | Spray Dryer | 5th | ZS-60231E | 325-01-600-PD-05 | ZS-60231E | ZS-60231E | 3-25-01-602-PD-05 | - | 1 | - | - | -
8 | IS-JB-608 | Spray Dryer | 5th | ZS-60231F | 325-01-600-PD-05 | ZS-60231F | ZS-60231F | 3-25-01-602-PD-05 | - | 1 | - | - | -
9 | IS-JB-608 | Spray Dryer | 6th | PT-60220 | 325-01-600-PD-04 | PT-60220 | PT-60220 | 3-25-01-602-PD-04 | - | - | - | 1 | -
10 | IS-JB-608 | Spray Dryer | 6th | TT-60220 | 325-01-600-PD-04 | TT-60220 | TT-60220 | 3-25-01-602-PD-04 | - | - | - | 1 | -
11 | IS-JB-608 | Spray Dryer | 6th | TT-60221 | 325-01-600-PD-04 | TT-60221 | TT-60221 | 3-25-01-602-PD-04 | - | - | - | 1 | -
12 | IS-JB-608 | Spray Dryer | 6th | ZS-60201A | 325-01-600-PD-04 | ZS-60201A | ZS-60201A | 3-25-01-602-PD-04 | - | 1 | - | - | -
13 | IS-JB-608 | Spray Dryer | 6th | ZS-60201B | 325-01-600-PD-04 | ZS-60201B | ZS-60201B | 3-25-01-602-PD-04 | - | 1 | - | - | -
14 | IS-JB-608 | Spray Dryer | 6th | - | - | ZS-60240 | ZS-60240 | 3-25-01-602-PD-05 | - | 1 | - | - | -
1 | RIO-200 | CIP Water System | 1st | LSL-81001 | - | LSL-814201 | LSL-814201 | 3-25-01-814-PD-01 | - | 1 | - | - | -
2 | RIO-200 | LPG System | 1st | LT-80301 | 325-01-803-PD-01 | LT-913201 | LT-913201 | 3-25-01-913-PD-01 | - | - | - | 1 | -
3 | RIO-200 | Boiler System | 1st | XT-92201 | 325-01-923-PD-03 | XT-92201 | XT-92201 | 3-25-01-922-PD-03 | - | - | - | 1 | -
4 | RIO-200 | Boiler System | 1st | XA-92201 | 325-01-923-PD-03 | XA-92201 | XA-92201 | 3-25-01-922-PD-03 | 1 | - | - | - | -
5 | RIO-200 | LPG System | 1st | - | - | PK-913201 | PK-913201 | - | - | 1 | - | - | -
6 | RIO-200 | LPG System | 1st | - | - | PK-913202 | PK-913202 | - | - | 1 | - | - | -